## Slide 1: Henwood Results - Initial Runs
Sandeep Kohli

## Slide 2: DPC-II Challenge: Unit Price & Dispatch
*Assuming JCC of 25 $/Bbl
A Lower Dispatch Means Unaffordably High Unit Tariff for Power
* Assuming a 100% dispatch on LNG and an adjusted Heat Rate

## Slide 3: Henwood Modeled Regions
Demand-supply & cost data (plant-wise)
Topology defined; model 2002-07
Maps transmission constraints
Models true merit order dispatch using VOM & FOM plus fuel costs
Runs Re-Designed to Model:
Load shedding &
Skewed end-user tariffs

Potential Hubs
Dabhol .
Chandrapur
Vindhyachal



## Slide 4: Assessing Maharashtra’s Ability to Pay
State Regulatory Commissions formed to rationalize tariffs
Govt. subsidies account for ~24% of revenue shortfall in 2000
Customer categories and end-user prices in 2000

## Slide 5: Scenario 1: Government Subsidy Elimination
Results in sharply increased industrial power prices due to continuing cross-subsidization

## Slide 6: Scenario II: Government Subsidy Eliminated; Cross Subsidy Reduced to Half
Busbar generation price range of $7.38 - $8.87 cents/kWh is viable for given period

## Slide 7: Clearing Prices for Merchant Markets
Market clears at prices over 6.5 cents/kWh over 70% of the time
Size of unserviced market given by load interrupted over 6.5 cents/kWh

## Slide 8: From Contract to Merchant Pricing
Payment ability should define range of offer prices in a market scenario
Contractual Pricing - Phase II (Yr.2002) (In Cents/kWh) @ 90% Dispatch @ 70% Dispatch
    Fuel (LNG)* 3.01 3.25
    O&M Costs 0.59 0.75
    Regas Costs** 0.84 1.08
    Debt Service 1.56 2.01
    ROE 1.21 1.56
    Total 7.21 8.64
  Pricing Flexibility Facilitates Increased Dispatch
    Recovery of Debt Service, Regas & ROE can be re-configured
    Reduce fuel component uncertainty through hedge products
* Assuming 25$/Bbl JCC
** Inclusive of Shipping & Harbor Services Charge

## Slide 9: Dispatch & Load Shedding: Maharashtra in 2002
Dabhol being dispatched between 3.2 - 5 cents/kWh;
All Load shed above 5 cents/kWh

## Slide 10: MSEB Payment Ability & Dabhol Dispatch
MSEB Payment Ability to DPC in 2002 likely ranges from $38-46 MM/month

## Slide 11: Serviceable Market outside Maharashtra
To get 90% dispatch, ~1,200 MW sales outside Maharashtra are needed (i.e. 32% market penetration)
Market penetration is a function of time and price
Revenue figures above are based on 7.5 cents/kWh sale price

## Slide 12: Conclusions
  Dabhol price at 90% dispatch is 7.21 cents/kWh (assuming 25$/Bbl JCC)
  Lowering Dabhol dispatch means unaffordable unit power prices
  If DPC sells ~1,200 MW outside Maharashtra, it can have 90% dispatch
  Increasing dispatch outside Maharashtra may require lowering ROE
    Henwood predicts demand above 6.5 cents/kWh in other regions
    Capturing this demand is a function of time and price
  Between 2002-07 it is likely that end-users tariffs will be able to sustain marginal power prices in the range 6.5 - 8.5 cents/kWh
  In addition, LNG supplier is senior to debt and equity in payment waterfall
    This magnifies credit risk for equity holder
    High dispatch is needed to avoid t-o-p occurring (~81% PLF in 2003)
    Redirecting LNG cargoes limits recovery to CIF price (not regas)