## Slide 1
WSCC Mobile Power Status
June 4 ,2001

## Slide 2: Presentation Overview
Background
Potential Counterparties
  Oregon Steel Mills
  Geneva Steel Holdings Corp
Site Descriptions
Commercial Summary
Economics
Deal Issues
Recommended Next Steps

## Slide 3: Background
  Advanced Mobile Power Systems (“AMPS”) has two 20 MW (nominal) trailer mounted gas turbine generator sets available for delivery in August
  Given the high pricing and volatility in the western U.S. energy markets and AMPS’ limited marketing resources, ENA West Power Origination was asked to place the Units. Three possibilities were explored:
    Outright sale
    3 to 5 year lease
    Merchant placement
  West Power targeted two customer classes:
    Utilities and PUD’s
      Public Service of Colorado
      Cheyenne Power and Light
      Idaho Power
      PacifiCorp
      Montana Power
      Avista
      Reliant Energy
      Emerald PUD
      Columbia River PUD
    Industrials
      Kaiser Aluminum
      Northwest Aluminum
      Oregon Steel
      Geneva Steel
      Columbia Foods

## Slide 4: Background
  Issues around emissions, noise levels, warranties, availability and performance guarantees limited both sale and lease opportunities
    Unit 1 was originally diesel fired and has minimal silencing
    Unit 1 sale rep “as is, where is”
    Used engines with high heat rates
  The best alternative to expediently place the unit appears to be in a merchant opportunity whereby profit sharing with minimal downside is offered to potential partners:
    ENA provides the Units, O&M, fuel procurement, power scheduling and settlement services
    Partner provides the site, fuel and power infrastructure, and air permit procurement
    Through an ENA LLC, gas is bought in the spot market and output is sold into the spot market (no hedging)
    Partner gets a site lease payment and 15% to 20% of the net profit generated from the unit
  Oregon Steel Mills in Portland, Oregon and Geneva Steel Holdings Corp in Provo, Utah have emerged as the best candidates to partner with and are both motivated to move forward

## Slide 5: Potential Counterparties
  Oregon Steel Mills, Inc.
  Oregon Steel is a U.S. based diversified “mini mill” (i.e. not integrated), producing a broad line of specialty and commodity steel products for domestic and global markets. OSM has three primary facilities located in Portland, OR; Pueblo, CO and Napa, CA
  The Oregon Steel Division is centered on the Company's steel plate mini mill, the Portland Steelworks, in Portland which supplies plate to the division's plate and pipe finishing facilities
  Geneva Steel Holdings Corp.
  Geneva Steel is located 45 miles south of Salt Lake City. They are a low cost producer of quality wide, light plate and market coiled and flat plate, hot-rolled sheet, ERW pipe, and slabs
  The company emerged from bankruptcy in Jan 2000 with government backed loans and credit
  Geneva has a 50 MW generator it is selling into the southwest summer power markets

## Slide 6: Site Description – Oregon Steel
  Site
    Sufficient space and access to interconnects identified
    Noise may be an issue with residences across Willamette River
  Gas Interconnect
    6” 1-1/2 mile lateral from William’s Northwest Pipeline
    Oregon Steel currently uses 6,500 MMBtu/day.
    Running 24/7 the two units would draw another 14,000 MMBtu/day
    Preliminary calculations support the capability of the 6” line to flow sufficient gas
    High demand in winter will probably result in occasional non-availability of non-firm gas
  Electric Interconnect
    Oregon Steel connects to PGE 138 kV system
    ENA has identified compatible used transformers and ancillary equipment
    Must submit PGE interconnect application
  Permitting
    Early assessment indicates 2,500 run hours/year (rolling 12 month) is achievable
    Oregon Steel air permitting consultant is currently reviewing emissions information and will have tentative run hours the week of June 4.
  O&M
    Oregon Steel has skilled trade personnel available to be trained in GT operations and can be used for most routine maintenance

## Slide 7: Site Description – Geneva Steel
  Site
    Sufficient space and access to interconnects identified
    Remote location reduces neighbor (noise, emissions) concerns
  Gas Interconnect
    1,000 ft interconnect to Questar Pipeline
    Sufficient capacity available according to Geneva
    Pressure occasionally gets down to 280 to 300 psig (turbines need minimum 300 psig)
  Electric Interconnect
    GSHC system at 13.8 kV (same as unit output). No transformers required
    Must submit Pacificorp interconnect application
    Early assessment indicates unlimited (8,760 hours/year) run time may be achievable
    GSHC personnel currently reviewing emissions information and confirming run hours.
  O&M
    Geneva Steel has skilled trade personnel familiar with power plant operations available to be trained in GT operations and can be used for most routine maintenance

## Slide 8: Commercial Summary
  Upfront costs
    ENA and partner split upfront costs in the same proportion profits are split
      Oregon Steel – ENA 80%, OSM 20%
      Geneva Steel – ENA 85%, GSHC 15%
    Unit Transport to site
    Initial Spares
    O&M Mobilization
    Transformer/auxiliaries
    Site prep and engineering
    Interconnections
    Interconnect study
    Site survey
    Noise Abatement
  Profit Calculation
    ENA and partner split profit
      Oregon Steel – ENA 80%, OSM 20%
      Geneva Steel – ENA 85%, GSHC 15%
    Electric revenue less
    Lease payments for units
    Lease payment for site
    Fuel cost
    Fixed and variable O&M cost
    Wheeling charges

## Slide 9: Commercial Summary – Upfront Costs
  Oregon Steel
  Geneva Steel

## Slide 10: Economics - Assumptions
  Oregon Steel Geneva Steel
Power curves, ENA Mids 5/31/01
Electricity Delivery Point Mid Columbia Mona
Wheeling Charge $5/MWh PGE $5/MWh PacifiCorp
Gas Curves, ENA Mids 5/31/01
Basis Sumas Questar
Intrastate Transportation $0.32 $0.18
Fuel Charge 1.5% 1.4%
Air Permit Limitations
Op hours/year/unit (rolling 12 month) 2,500 5,000
Average Site Output (MW)
Altitude 100 ft 4,200 ft
Annual (Unit 1 / Unit 2) 19.0 / 20.4 16.5 / 17.7
Q3 18.0 / 19.4 15.0 / 16.2
Unit Heat Rates (MMBtu/MWh)
Unit 1 14.4 14.4
Unit 2 14.0 14.0

## Slide 11: Economics – Operating Margin
  Oregon Steel
  Geneva Steel
Unit 1 On Peak
Unit 1 Off Peak
Unit 2 On Peak
Unit

## Slide 12: Economics – Operating Margin
  Oregon Steel
  Geneva Steel

## Slide 13: Economics – Return
  Oregon Steel
  Geneva Steel

## Slide 14: Deal Issues
  Contract
    Structure (AMPS – ENA – Counterparty) or (AMPS – Counterparty)
    Term and pricing – fixed or pass through
  Merchant Economics
    Optimal merchant play is 14 months
    Merchant price risk – who wears it
  Execution Timing
    Air permitting
    Interconnect agreements
    Contracting
    Unit availability
  Alternative Sales
    ENA development cost recovery if units can be sold
  Accounting
    AMPS does not have the credit to guarantee residual value of the units for an operating lease
    A capital lease (more than 90% of unit PV paid over lease of life) with ENA puts the units on ENA’s balance sheet
    Middle ground structure [present value of units at cost ($17 million), no residual value for lease pricing purposes and market value ($20 to $25 million) of units for operating lease determination] may allow AMPS full monitization of units through EES Leasing Services and avoid balance sheet issue for ENA

## Slide 15: Recommended Next Steps
  Agree on ENA/AMPS contractual and economic structure
  Agree on merchant risk management
  Continue to try outright sale of units with reimbursement to ENA
  Continue due diligence on interconnect timing and permitting(# of permit operating hours is critical driver of economics)