## Slide 1: Gas/Coal Emissions Comparison (lb/MWh)
NOx Emissions
0.13
0.8
4.9
Existing Coal
Boiler
New Coal Boiler
Gas Combined-
Cycle
SO2 Emissions
0.004
14
4
Existing Coal
Boiler
New Coal
Boiler
Gas Combined-
Cycle
CO2 Emissions
1,986
819
2,090
Existing Coal
Boiler
New Coal
Boiler
Gas Combined-
Cycle
PM-10 Emissions
0.04
0.8
0.8
Existing Coal
Boiler
New Coal
Boiler
Gas Combined-
Cycle