## Slide 1: WSCC High Voltage Transmission
+500 kV dc
500 kV
345-360 kV
230-287 kV
Legend
Notes: <number>
<footer>
<header>
<date/time>

## Slide 2: Southern Interties
Power is moved between the Pacific Northwest and California over what BPA calls the Southern Interties
This includes 3 high voltage AC transmission lines connecting Northern California with the Pacific Northwest
It also includes 1 high voltage DC line that connects Southern California with the heart of the Pacific Northwest near The Dalles dam

## Slide 3: Average Power Flows to CA

## Slide 4: Actual Power Flows on Southern Interties

## Slide 5: Actual Power Sales
1998 was a “near normal” water year in the Pacific Northwest
Actual power sales to CA were only 211 average MW less in 2000 than in 1998
The monthly pattern of hydro generation was substantially different in 2000
This pattern created an early runoff followed by below normal flows