## Slide 1: Recent Load Reduction Initiatives in New York State
NARUC 2001 Winter Committee Meeting
Joint Meeting of the Committees on Electricity and Energy Resources and Environment
presented by
Aaron Breidenbaugh,Senior Manager, Navigant Consulting, Inc.
Executive Director, Price Responsive Load Coalition

## Slide 2: Overview of Discussion
The Price Responsive Load Coalition
NYISO Initiatives
  Emergency Demand Reduction Program
  Special Case Resources ICAP Program
  Incentivized Price Responsive Load Program
NYPSC Initiatives
  Price and Reliability Task Force
  Demand Response Order
  System Benefits Charge Order
NYSERDA Initiatives
  PON 577 - Short-Duration Load Curtailment Measures
  PON 577 - Permanent Demand Reduction Efforts
  PON 577 - Dispatchable Emergency Generator Initiatives
Future NYSERDA Initiatives
Future PRLC Initiatives

## Slide 3: The Price Responsive Load Coalition
Formed October, 2000
Currently 22 Members
Open to End-Use Consumers, ESCOs, Unregulated LSEs, Marketers, Public Power, Environmental Groups, Vendors and Consultants
Our Mission
It is the mission of the PRLC to promote the ability of electric customers to respond to market signals through load reduction, curtailment, fuel switching, generation, energy-efficiency, and other technologies.

## Slide 4: The Price Responsive Load Coalition
Advantage Energy, Inc.
AES NewEnergy, Inc.
Amerada Hess Corp.
Association for Energy Affordability, Inc.
Central Hudson Enterprises Corp.
ConEd Solutions, Inc.
Customized Energy Solutions, Inc.
The E3 Company L.L.C.
Electrotek Concepts
Enron Corp.
Johnson Controls, Inc.
KeySpan Business Solutions
Long Island Power Authority
MetroGen L.L.C.
Pace Energy Project
PowerCold Corp.
Powerweb Technologies
Plurimi
Retx.com
Silicon Energy
Tabors, Caramanis & Associates
XENERGY
Current PRLC Members

## Slide 5: NYISO Initiatives
Emergency Demand Reduction Program
  Open to All Verifiable Load Reductions, including those backed by Distributed Generation
  Available to all LSEs, Direct Customers, and Curtailment Service Providers (no Credit Requirements)
  Compatible with Special Case ICAP Program
  Called by the NYISO in Response to an Operating Reserve Peak Forecast Shortage
  2-hour Notice to Curtail
  Payment is Higher of LBMP or $500/MWh
  Minimum Curtailment Period is 4 hours
  Participation is Voluntary (No Penalties)
  Minimum Resource Size: 100 kW in Given Zone
  Aggregation Permitted to Achieve 100 kW Minimum
  Appropriate Interval Metering Required
  Effective Dates: May 1, 2001 - October 31, 2002

## Slide 6: NYISO Initiatives
Special Case Resource ICAP Program
  Open to All Verifiable Load Reductions, including those backed by Distributed Generation
  ICAP Can Be Sold Bilaterally or via NYISO Auction
  Available to all LSEs, Direct Customers, and Curtailment Service Providers (no Credit Requirements)
  Called by the NYISO in Response to an Operating Reserve Peak Forecast Shortage
  24-hour Notification to Prepare, 2-hour Notice to Curtail
  Minimum 4-hour Curtailment Period if Requested
  Resource Not Required to Bid In to Energy Market
  Failure to Curtail for Minimum Period or When Requested Results in Being Considered Forced Out
  Minimum Resource Size: 100 kW
  Aggregation Permitted to Achieve 100 kW Minimum
  Appropriate Interval Metering Required

## Slide 7: NYISO Initiatives
Incentivized Price Responsive Load Program
  Narrowly Approved by Business Issues Committee 2 Weeks Ago
  March 1 Management Committee Vote Scheduled
  Open to All Verifiable Load Reductions, but those backed by Distributed Generation receive no Incentive (Diesels are Excluded Completely)
  Available to all LSEs, Direct Customers in Year 1, Open to Curtailment Service Providers thereafter
  Curtailable Loads bid in as Generators
  All Generator Bid Rules Apply (startup costs, minimum run times, etc.)
  Bids can Set LBMP
  Accepted Bids are Paid Higher of LBMP or Bid Price
  LSEs Retain Day-Ahead Energy Savings
  All Loads Pay Loads Bidding as Generators Through Zonal Uplift
  Penalty: 1.1 times (Higher of Day-ahead or Real-Time Price) times actual Real-Time Shortfall
  Minimum Resource Size: 100 kW
  Aggregation Permitted to Achieve 100 kW Minimum
  Appropriate Interval Metering Required
  Incentive Sunsets October 31, 2002

## Slide 8: NYPSC Initiatives
Price and Reliability Task Force
  Established in Late 2000 by Chair Maureen Helmer
  ISO Pricing Team - The Pricing Team is responsible for working with the ISO to investigate all the circumstances within the ISO markets that might cause prices higher than what would be expected in a competitive market.
  Supply/Demand Team - The Demand and Supply Team’s responsibility is to ensure that adequate supplies of electricity will be available until significant new base load generation can be built. This team’s objective is to obtain the equivalent of 750 MW or more of power through added generation or reduced load for 2001 and another 600 MW by 2002.
  Article X Team - The Article X Team will work closely with the Department of Environmental Conservation and other state agencies to identify ways to further streamline the Article X process. Part of the team’s responsibility will be to efficiently allocate resources to the individual projects, better coordinate the review of applications, and streamline the Preliminary Scoping Statement process.

## Slide 9: NYPSC Initiatives
Demand Response Order - 12/20/00
Directs Utilities To File Demand Responsiveness Plans by January 29, 2001. Utilities must…...
  “ensure that all customers that have the potential and willingness to reduce or curtail usage economically are provided the opportunity to do so.”
  “cooperate with Competitive ESCOs, the ISO and NYSERDA, in the development of demand response opportunities.”
  “ensure that all potentially economic demand response programs are available to customers.”
  “develop dispatchable or “active” load management programs, especially those targeted to relatively smaller customers that might not be targeted by competitive ESCOs.”
  “seek to maximize the involvement of competitive ESCOs in the design and implementation of such programs.”
  “develop and offer tariff options that apply hourly market prices to actual hourly customer loads to provide improved incentives for utility customers to respond to price signals.”
  “take steps to accelerate the installation of interval meters in the buildings and facilities of customers that are the prime candidates for participating in price responsive load programs.”
“Utilities will be permitted cost recovery for well-designed, economic and effective programs.”

## Slide 10: NYPSC Initiatives
System Benefit Charge
  Established in 1996 to Fund Public Benefit Programs Unlikely to Be Assumed by the Marketplace, Administered by New York State Energy Research and Development Authority (NYSERDA)
SBC Extension Order - 1/26/01(“SBC II”)
  Program Extended Five Years to June 30, 2006
  Budget Increased 92% to $150 million/year
  Major Focus is on Peak Load Reduction Initiatives for the Next Few Summers
  Total of $788 million to be allocated over 6 years
  $428 million Allocated to PLR and Efficiency Measures

## Slide 11: NYSERDA Initiatives
Program Opportunity Notice 577 - Funded Under SBC II
“Intended to reduce energy costs and improve electric system reliability by providing incentives to encourage coincident-system summer-peak demand reduction in New York State, particularly in New York City.”
Applications Accepted 1/29/01 through 4/30/01
$12.4 million initially earmarked
Additional money available from System Benefits Charge, New Programs Expected
Maximum incentives cannot exceed 75% of expenses
Per-Contractor cap of $2.7 million

## Slide 12: NYSERDA Initiatives
PON 577 - Short Duration Load Curtailment Measures
Peak load reductions at times of capacity shortfall in response to a signal sent from the NYISO.
Eligible Measures: load shedding, load shifting, peak shaving, etc.
Automatic controls encouraged but not required
Temporary facility closure measures not eligible
Applications must include a NYISO Market Participant
Measures must be capable of operating during the entire Summer Peak Demand Reduction Period, but need only operate when called upon by an emergency communication from NYISO’s EDRP
Each end-use customer must have the ability to participate for a total of at least 15 emergency communications from the NYISO’s EDRP (approximately 50 hours) over the Summer Peak Demand Reduction Period
Qualifying expenses include engineering services, procurement and installation of capital equipment, metering equipment, or other expenses incurred to clip summer peak demand
Incentive for Projects in the ConEd Service Territory: $150/kW of summer peak demand reduction for measures installed and operational by May 1, 2001 or $75/kW of summer peak demand reduction for measures installed and operational by June 15, 2001.
Incentives for Projects Outside the ConEd Service Territory: $50/kW of summer peak demand reduction for measures installed and operational by May 1, 2001 $25/kW of summer peak demand reduction for measures installed and operational by June 15, 2001.

## Slide 13: NYSERDA Initiatives
PON 577 - Permanent Demand Reduction Efforts
Base-load reductions as well as overall coincident system peak -demand reduction.
Eligible measures: O&M services, energy management system upgrades, advanced metering, controls, and scheduling improvements, renewable technologies are also encouraged
Measures must be automatically activated or integrated with building operation
Capital projects requiring installation periods greater than 3 months are not eligible
Measures are expected to be in place for at least five years
Measures must be operational during the entire Summer Peak Demand Reduction Period, consistent with the measures’ normal operating schedules
Emergency generators and cogeneration not eligible
Incentives for Projects in the ConEd Service Territory: $375/kW for measures installed and operational by May 1, 2001; or $300/kW for measures installed and operational by June 15, 2001; or $200/kW for measures installed and operational by October 31, 2001. Bonus Photovoltaic Incentive: $6/W ac of installed PV for systems operational by June 15, 2001; or $4/W ac of installed PV for systems operational after June 15, 2001 and before October 31, 2001.
Incentives for Projects Outside the Consolidated Edison Service Territory: $125/kW for measures installed and operational by May 1, 2001; or $100/kW for measures installed and operational by June 15, 2001; or $65/kW for measures installed and operational by October 31, 2001. Bonus Photovoltaic Incentive: $5/W ac of installed PV for systems operational by June 15, 2001; or $3/W ac of installed PV for systems operational after June 15, 2001 and before October 31, 2001.

## Slide 14: NYSERDA Initiatives
PON 577 - Dispatchable Emergency Generator Initiatives
Reduce system demand at times of capacity shortfall by allowing existing emergency generator owners to off-load some or all of their electrical needs to on-site generators
Eligible measures: critical dispatching of emergency generators in response to NYISO signal, testing and tuning generators, rewiring circuits, installing transfer switchgear, environmental permitting, emission improvements
Automatic controls encouraged but not required
Purchase or installation of new generation is not eligible
Only projects in the ConEd Service Territory are eligible
Minimum project size is 750 kW per application (aggregation is strongly encouraged)
Only projects installed after 1/1/95 or with maximum NOx emissions less than 35 lb/MWh
Measures must be capable of operating during the entire Summer Peak Demand Reduction Period, but need only operate when called upon by an emergency communication from NYISO’s EDRP
NYSERDA will purchase and retire NOx allowances equal to twice the total calculated NOx emissions. NOx emissions will based on the actual hours of operation of the emergency generators and a NOx emission rate of 35 lb/MWh for all participants of this solicitation component. The allowances will be purchased in one block at the end of the Summer Peak Demand Reduction Period.

## Slide 15: Future NYSERDA Initiatives
Proposed Plan for SBC II Programs
Out of $788 million 6-year total, between $431 and $476 million (54-60%) are being allocated to programs that should directly benefit emergency and price responsive load.
Programs proposed by NYSERDA include:
  Standard Performance Contract Program - $90 million
  Distributed Generation/Cogeneration Program - $69.6 million
  New Construction Program - $57.6 million
  Infrastructure Development Program - $43.2 million
  Peak Load Reduction Program - $38.6 million
  Energy Management Program - $24.7 million
  Next Generation End-Use and Strategic Technology Program - $22 million
  New York ENERGY STAR Homes Program - $14.1 million
  Technical Assistance Program - $12.3 million
  ENERGY STAR Public Awareness Program - $11.9 million
  Financing assistance Program - $11.4 million
  ENERGY STAR Load Fund - $10.8 million
  Strategic Energy Reliability Program - $7.2 million
  Dispatchable Emergency Generator Program - $6.8 million
  Institutional Barriers to Competition Program - $5.4 million

## Slide 16: Future PRLC Initiatives
Work with NYSERDA
Legislation
  Tax Credits for Interval Meters, Smart Building Control Systems, Other Enabling Technology Investments
Outreach and Education
  Overcoming institutional barriers

## Slide 17: New York State PRL “Report Card”
NYISO: A+
NYPSC: A+
NYSERDA: A+
NYS Legislature: (Incomplete)
The “Bottom Line”
New York has done almost all that it can to be prepared as it can be for the challenges facing it this summer The big task now is for the state and business to successfully market the programs developed to date and overcome customer reticence to participate

## Slide 18: Contact Us
Price Responsive Load Coalition
Aaron Breidenbaugh, Executive Director
c/o Navigant Consulting, Inc.
20 Madison Avenue Extension
Albany, NY 12203
(518) 369-7987 (cell)
aaron@prlcny.org
http://www.prlcny.org