## Slide 1: Privileged & Confidential
“Misdeclaration” Claim by MSEB
Issues & Potential Impact

## Slide 2: What is Misdeclaration ?
The Concept [Clause 8.4 (b)]:
DPC ‘intentionally declares’ higher available capacity than is actually available for generating energy
Tested January, May and September of each year
Test for misdeclaration is for any Availability Period
Average active power < 95% of MSEB’s Instructed Capacity
The above test is not applicable if:
  DPC acted in accordance with Good Industry Practice; &
  DPC was not knowingly in breach of its obligations per the PPA, with regard to updation of its availability declarations
Misdeclaration Provision Applicable only when
DPC does not act in good faith

## Slide 3: Impact of Misdeclaration on DPC
Penalty for misdeclaration:
  The fixed charges multiplied by 10 times the diff. between Declared Availability & Active Power (AP) produced in all the relevant Availability Periods
The penalty has been computed in the worst case over a period of 14 days prior to the shortfall
Very Stiff penalties for Misdeclaration

## Slide 4: Background
The ramp up curve (minimum time required for a plant to go from cold start to full load) in the PPA does not reflect the actual performance
  The PPA requires the plant to be on full load in 3 hours
  In practice combined cycle plants takes almost 6 hours to ramp up to full load
  Issue discussed with MSEB in June 1999 and minuted
The informal arrangement for hot & cold starts was mutually agreed verbally and actually followed on a number of occasions
  MSEB has implicitly accepted the revised ramp up curve by their dispatch instructions
This arrangement supports the actual start-up profile of the machines as opposed to the curves in the PPA

## Slide 5: The Current Issue
MSEB instructed cold start of the plant on Jan 28, 2001
DPC instructed to reach full baseload (657 MW) in 3 hrs, as required in the PPA
Plant operator informed MSEB of inability to achieve full baseload generation within instructed timeframe:
  Initially by telephone;
  Written communication (by fax) later
MSEB’s interpretation of the above event per the PPA:
  DPC’s declaration incorrect & ‘misdeclaration’ clause would apply
DPC’s interpretation of the above event:
  MSEB was aware of actual plant constraints with regard to ramp up rate
  There was no intent to misdeclare;
  DPC did not knowingly breach its obligations per the PPA; and
  Therefore Misdeclaration clause would not apply

## Slide 6: MSEB’s Claims - Jan 28 Incident
MSEB’s contention : Jan 28th incident is an event of Misdeclaration; &
Worst case (14 day) “Misdeclaration” Penalty applicable
Revised Availability Computed by MSEB: - 11.26%
Consequent Rebate (leviable as of Jan 2001) ~ $ 86 MM (~ Rs 401 cr.)
DPC’s bill for Jan 2001 ~ $ 27.5 MM (~ Rs 128 cr.)
Net amount payable by DPC to MSEB ~ $ 53.5 MM ( ~ Rs 249 cr.)
Additional adjustments proposed by MSEB*
  Outstanding Dec. bill ~ $ 21.9 MM (~ Rs 102 cr.)
  Interest due (Oct 2000 - Jan 2001 bills) ~ $ 0.9 MM (~ Rs 4 cr.)
ADJUSTED AMOUNT PAYABLE by DPC ~ $ 30.7 MM (~ Rs 143 cr.)
* Note: As per the PPA there is no set-off provision on prior and subsequent bills

## Slide 7: DPC’s Views
MSEB’s Dispatch instructions in previous instances support the actual start up profile of the machines
DPC followed Good Industry Practice
  No Combined Cycle achieves full load in less than 5-6 hours
Further, DPC was not knowingly in breach of its obligations;
  written communication to MSEB in the past (MoM June 1999)
  verbal communication in the current instance
MSEB’s recent actions reflect bad faith
DPC intends to resort to the Dispute Resolution Process outlined in the PPA to resolve the Misdeclaration Issue
Strong Defences for ultimate resolution of Issue

## Slide 8: Immediate Implications of Misdeclaration
The January bill of 125 crores would probably not be paid by MSEB
As per the PPA no prior / subsequent bills can be set off against this claim
DPC intends to take recourse to its security package, if required, to collect the outstanding bills
There is currently enough liquidity in DPC to meet the estimated operating expenses till May 2001
There are adequate funds in the O&M Account
The Debt Service accounts are fill and adequate to meet the debt service requirements till June 2001
Additionally there are liquidity L/Cs of $37.5 M also available