## Slide 1: Incorporating New Transmission Projects in the New York ICAP Market
New York ICAP Working Group
September 24, 2001
Frank A. Felder
on behalf of TransÉnergie US Ltd
September 24, 2001

## Slide 2: Presentation Summary
Current NYISO rules do not permit new transmission projects from receiving ICAP credit
New transmission projects reduce the need for installed reserve margins (IRM)
Not allocating ICAP credit to new transmission projects reduces reliability, increases costs to consumers, and is discriminatory

## Slide 3: Current NYISO Rules
Current NYISO Tariffs do not credit new transmission projects with the associated reduction in installed reserve margin (IRM) that these projects create
  No credit for reduction in overall IRM
  No credit for reduction in locational ICAP requirements for applicable projects
Recent rule changes more accurately reflect the ICAP value that different resources provide
  Change from ICAP to UCAP
  Expanded participation by small generator and load management resources in the ICAP market

## Slide 4: New Transmission Projects Reduce the Installed Reserve Margins
“The adequacy of the generating capacity in a power system is normally improved by interconnecting the system to another power system. Each interconnected system can then operate at a given risk level with a lower reserve than would be required without the interconnection. This condition is brought about by the diversity in the probabilistic occurrence of load and capacity outages in the different systems. The actual interconnection benefits depend on the installed capacity in each system, the total tie capacity, the forced outage rates of the tie lines, the load levels and their residual uncertainties in each system and the type of agreement in existence between the systems.”
Roy Billinton and Ronald N. Allan, Reliability Evaluation of Power Systems (2nd Edition), p. 117.

## Slide 5: New Transmission Projects Reduce the Installed Reserve Margins - Examples
Between Control Areas
Within a Control Area
Within a Control Area and Between ICAP Subzones
#1
#2
#3
Key
Transmission line
Control Area
Subzone boundary

## Slide 6: New Transmission Projects Reduce Installed Reserve Margins
Even if loads in the two connecting areas are perfectly correlated, new transmission projects reduce IRM due to the largely independent outages of generation units in both areas
Connecting an area with excess generation to an area short of generation reduces the IRM in both areas (i.e., reliability benefits do not flow only in the direction of power flows)
In general, transmission projects have larger availabilities than generation projects

## Slide 7: New Transmission Projects Should Receive Appropriate ICAP Credit
Granting ICAP credit to transmission enhances reliability and reduces customer costs
  Transmission projects may provide greater reliability benefits than similarly situated generation projects and could be less expensive
  Granting ICAP credit only to generation projects makes generation more attractive to investors than transmission projects, irrespective of which alternative provides the lowest cost
  As a result, the additional reliability benefits and potential cost reductions of transmission projects will not occur

## Slide 8: New Transmission Projects Should Receive Appropriate ICAP Credit (con’t)
Granting ICAP credit to transmission places all solutions on equal footing
  Non discriminatory treatment allows all solutions -- generation, distributed generation, load management initiatives, and transmission projects -- to compete to provide consumers with inexpensive delivered electricity
  Non discriminatory treatment allows all solutions to be fairly compensated for the reliability value that each provides