## Slide 1
Overview of Supply and Facility Reliability
Gas Accord II Workshop

## Slide 2: Supply and Facility Reliability
Four Areas of Concern:
Local Transmission Reliability
Winter Supply Reliability
Central Backbone Delivery Capacity
Backbone Transmission Capacity

## Slide 3: Local Transmission Reliability
Concern is driven by December 1998 local area curtailments
Measured by the ability of the local transmission facilities to meet local demand under cold weather conditions
  Assumes supply is available from the backbone system
Planning criteria are:
  Meet local area core demand under APD conditions, and
  Meet all local area demand, including noncore and electric generation, under CWD conditions
Presented at September 27 Workshop

## Slide 4: Winter Supply Reliability
Concern is driven by need for firm gas supply to support electric generation demand, and loss of fuel oil backup for both electric generation and noncore loads
Measured by the amount of diversion/curtailment of supply from noncore and electric generation customers under cold temperatures
  e.g. cold winter day (CWD) to abnormal peak day (APD)
Evaluate costs of supply options versus cost of shortage
Presented initially at September 27 Workshop and revisiting today (November 7 Workshop) with more supporting analysis

## Slide 5: Central Backbone Delivery Capacity
Concern is driven by expanded storage capacity and high withdrawal conditions
Measures the ability of the central portion of PG&E’s backbone and local transmission system to deliver gas storage withdrawals and flowing supply without restrictions
Presented at September 27 Workshop. Will present range of capital cost estimates tomorrow (November 8 Workshop)

## Slide 6: Backbone Transmission Capacity
Concern is driven by growing gas demand, especially in the electric generation market
Measure the ability of backbone transmission capacity to bring sufficient gas from supply basins to:
  Meet overall market demand, and
  Support gas on gas competition (slack capacity)
Need matching capacity on upstream pipelines
Presenting today (November 7 Workshop)