## Slide 1
Gas Fundamentals
In the Pacific Northwest
Presentation by Dave Fuller
Proprietary and Confidential 9/01

## Slide 2: PNW – Natural Gas Infrastructure
LNG
Pipeline
Trading Point
UG Storage
Sumas
Kingsgate
Stanfield
Opal
Clay Basin
Jackson Prairie
Mist
Malin

## Slide 3: PNW Gas Issues
Supply - no local production
Demand – from strong growth to reduction
Storage – limited storage capacity
Pipelines - pipes fully subscribed
California – proximity creates uncertainty
Gas-fired generation – is the dream over
Weather – forecasts move markets
Prices – aforementioned issues drive volatility

## Slide 4
PNW Supply Summary

## Slide 5
Gas Supply Basins for the PNW
PNW – Supply Basins, Major Pipelines, and Trading Points
Opal/NW Rockies
Malin
Kingsgate
Sumas

## Slide 6: Gas Flows in the West
To
Chicago
Northern Border
Kern
PGT
Northwest
El Paso
El Paso
KN
NGPL
= Glenrock
= Cheyenne/Rockport
= OPAL
WIC
Powder River Basin
Big Horn Basin
Wind River Basin
Green River Basin
San Juan Basin
Permian Basin
Paradox Basin
Uinta Basin
Northwest
Piceance Basin
Trailblazer
CIG
DJ Basin
Raton Basin
CIG
Overthrust
WBI
Alliance
Northwest

## Slide 7: Canadian Rig Counts are Up
Record Levels of Canadian Activity
Most recent data indicates 328 active rigs at the end of August
This is off 43% from the year-to-date high of 539 rigs in January 2001
Similar constraints as those found in the U.S. market

## Slide 8: Canadian Field Receipts are Up

## Slide 9
A mosquito-ridden bog in remote northeastern British Columbia has become one of Canada's richest finds of the past two decades
Canadian Natural said test results from its recent Ladyfern well showed it had the capability of producing 100 million cubic feet of gas a day, rivaling some finds in the deep water Gulf of Mexico
Ladyfern is expected to deliver between 100 million and 150 million cubic feet per day during the last half of 2001.
Ladyfern May Represent a Significant
Supply Addition

## Slide 10: Canadian Imports are Strong and Growing
Note: The bulk of these imports are
going to the Midwest and Northeast.
Increases come largely from new
production not cannibalization of
existing production.

## Slide 11: Rockies Rig Counts are Up Too
<number>
Drilling is continuing at the highest pace in over a decade despite the infrastructure constraints that have appeared over the last year.
Note: Powder River Basin CBM rigs are excluded from the Baker-Hughes Wyoming rig count due the shallow nature of the CBM wells

## Slide 12: Rockies Receipts are Flat

## Slide 13: Coal Bed Methane Play will Increase Rockies Production
Key Features
- On pace to drill 4,500 wells per year, average of 11 wells per day
- Average production per well = 125 Mcf/d
- No production decline curve has been established, but industry is working on one
- CBM play has an estimated life span of 35 years, with each individual well lasting between
5-10 years
- Peak daily production estimated to be 2 Bcf/d
Possible Delays to Future Development
- Water discharge permits
- BLM EIS, These studies are on going and continually analyze the cumulative effect on the
environment

## Slide 14
Gas Demand

## Slide 15: Natural Gas Demand in the US
Source EIA

## Slide 16: Negative Industrial Demand Growth is Real

## Slide 17: Total US Natural Gas Demand
Total Demand
Industrial Demand
Electric Utility Demand
Source EIA
US Demand by Month

## Slide 18: Power Demand Response in the PNW
Percent Change in Electricity Demand
As of June 01
Source: Northwest Power Pool

## Slide 19
Gas Storage

## Slide 20: The US Storage Picture
The Rapid Pace Continues
Strong storage levels reflective of weak fundamentals
Unprecedented level of injections have been a critical factor in market declines
As of September 2, the year-over-year storage surplus was 386 Bcf
8 weeks left in injection season
High probability of reaching 11/5/98 storage high of 3,094 Bcf

## Slide 21: Limited Storage in the PNW
LNG
UG Storage
Clay Basin
Jackson Prairie
Mist

## Slide 22: NWN Building Merchant Storage at Mist
Mist Expansion Scenario

## Slide 23
Gas Fired Generation

## Slide 24: New Power Generation Is the dream over for developers?
Big rush to build
12-month boom
Power prices have crashed
Market heat rates are down
Significant demand response
Supply/Demand balance equilibrating
Dreamers - Utilities Industrials and IPPs
$

## Slide 25: Summary of New Generation in the West

## Slide 26
NOTE: 100% of Capacity Under Construction, 50% of Permitted Capacity
WSCC Capacity Additions

## Slide 27: Prices at Mid-C Have Crashed

## Slide 28: Market Heat Rates have Come Off
Note: Oct 01 market heat rate
was 12,700 (peak) and 11,100
on 9/4/01.

## Slide 29: The Impact of Market Heat Rate on Gas Demand in the WSCC
MW
(Bars)
MMBtu
(Line)
Current
Market HR

## Slide 30: PNW Hydro Power – Why Didn’t the Lights Go Out
The hydro shortage is real: Dams are at 55% of capacity second worst year on record
Storage for next year is way behind
Load will bottoms out in September and builds through the winter
Load shedding averted the widely forecast crisis
1800 MW of aluminum smelting shut off
Seattle and Tacoma raised rate 45% before summer
No meaningful forecasts until December

## Slide 31: The Hydro Power Shortage Is Real… and Ongoing
Forecast
Pacific Northwest Hydro Generation
MW

## Slide 32: Examples of Structures for PNW Customers

## Slide 33: Peaking Structure Industrials and Utilities
20.0 MMBtu
per day
ENA
Industrial
Sumas MI
+ US$1.50 per MMBtu
20.0 MMBtu per day
Sumas Peaking Structure – Physical Settlement
For any 10 days from November 1, 2001 thru January 31, 2002
Utility
Sumas MI
+ US$2.00 per MMBtu

## Slide 34: Reverse Tolling Generators
Generator
Gas
Supplier
Power
Market
ENA
Example: Gas fired generator has fixed winter gas at $3.00.
Winter gas goes to $5.00. The generator buys power from
ENA in exchange for gas, generator never runs.
gas
$3.00
power
Tariff Rate
$5.00
Gas
Power
$

## Slide 35: Services Transaction IPPs and Cogens
ENA
Power
Market
EPMI
Generator
Physical Gas
Daily Index
Physical Gas
Physical Power
Physical Power
Daily Index

## Slide 36: Marketing Partnerships Utilities
Physical gas
Risk management
Credit
Non-Cascade customer identification
Firm capacity
Customer identification
Real-time metering and balancing
Back office
Cascade
ENA
Example with Cascade Natural Gas:

## Slide 37: Basis Hedging and Book Optimization Industrials
ENA
Industrial
Henry Hub DI + [Sumas DI basis settle]
Floor @ $0.40 $US/MMBtu
Cap @ $1.50 $US/MMBtu
Daily Gas at Sumas
Nymex hedged independent of basis