## Slide 1: The Western Energy Crisis
Jim Litchfield
503-222-9480
lcg@europa.com
January 18, 2001

## Slide 2: WSCC High Voltage Transmission
+500 kV dc
500 kV
345-360 kV
230-287 kV
Legend
Notes: <number>
<footer>
<header>
<date/time>

## Slide 3: Northwest Loads & Resources
BPA White Book
PNUCC Northwest Regional Forecast
NW Power Planning Council Reliability Study

## Slide 4: PNUCC Surplus/Deficit

## Slide 5: BPA White Book
BPA White Book Forecasts
20000
20500
21000
21500
22000
22500
23000
23500
24000
24500
1999
2000
2001
2002
2003
2004
2005
2006
2007
2008
MWa
Loads
Generating Resources
3626 MW

## Slide 6: PNUCC – NW Regional Forecast
4455 MW
PNUCC Northwest Regional Forecast
20,000
21,000
22,000
23,000
24,000
25,000
26,000
27,000
1999-00
2000-01
2001-02
2002-03
2003-04
MWa
Loads
Generating Resources

## Slide 7: NPPC Reliability Study
Generation Loss of Load Probability
Winter, 2003
0
5
10
15
20
25
30
0
1000
2000
3000
4000
5000
Pacific Northwest Generation Additions (MW)
LOLP
(%)

## Slide 8: WSCC Supply Demand Balance

## Slide 9: WSCC Forecasts

## Slide 10: WSCC California Surplus

## Slide 11: WSCC California Loads

## Slide 12: WSCC California Generation

## Slide 13: Partial Deregulation
Created a competitive wholesale power market with prices set by buyers and sellers
Left retail “deregulation” to the states
Even in California retail customers were not provided market price signals
Retail rates were capped to insure that utility stranded costs could be recovered

## Slide 14: Characteristics of Halfway Deregulated Power Markets
Electric power is an instantaneously perishable commodity
Generation must equal load at every instant
Utilities are forced to purchase enough power to meet the loads next hour no matter what the cost or the lights will go out
There is little ability of loads to adjust to high prices because they only see regulated rates.

## Slide 15: Capped Rates & Competitive Market
Time
Power Prices & Rates
Stranded
Cost Recovery
Financial
Crisis

## Slide 16: Factors Leading to Energy Crisis
California/Nevada/Arizona experienced the fourth hottest May through July period in 106 years
California was 32% warmer than in 1999 during May through August 2000.
Natural gas prices doubled since the summer of 1999 - lower production levels, lower inventories, and higher demand.
Imports into the California dropped because of simultaneous hot weather throughout the West

## Slide 17: Factors Leading to Energy Crisis
Cost of environmental credits for (NOx) in LA exceeded the fuel costs for some generators
Less than forecast hydro resources available from the Pacific Northwest
Exports from California increased from 1% in 1999 to 3% in the summer of 2000 due to price caps
Reserves in California frequently dropped to less than 5%

## Slide 18: Bonneville Dam Outflow

## Slide 19: Change in System Generation

## Slide 20: Cumulative Flow Difference

## Slide 21: Southern Interties
Power is moved between the Pacific Northwest and California over what BPA calls the Southern Interties
This includes 3 high voltage AC transmission lines connecting Northern California with the Pacific Northwest
It also includes 1 high voltage DC line that connects Southern California with the heart of the Pacific Northwest near The Dalles dam

## Slide 22: Average Power Flows to CA

## Slide 23: Actual Power Flows on Southern Interties

## Slide 24: Actual Power Sales
1998 was a “near normal” water year in the Pacific Northwest
Actual power sales to CA were only 211 average MW less in 2000 than in 1998
The monthly pattern of hydro generation was substantially different in 2000
This pattern created an early runoff followed by below normal flows

## Slide 25: Status of Competitive Power Markets
Loads reach generation limits in California on May 21 & prices hit $732/MW-hr
Prices hit the cap of $750 on May 22nd & remain over $200 for most of the last of May
NW Hydro does not materialize as planned
Loads continue to grow through the summer and CA utilities loose $11.5 billion!

## Slide 26: Mid-Columbia Flat Index

## Slide 27: Mid-Columbia Moving Average
Mid-Columbia Power Prices
Seven-Day Moving Average
through 7/31/00
0
50
100
150
200
250
300
350
07-07-98
10-06-98
01-05-99
04-06-99
07-06-99
10/05/1999
01/04/2000
04/04/2000
07/04/2000
$/MWh
MidC On-Peak
MidC Off-Peak

## Slide 28: Declared Power Emergencies in California

## Slide 29: Problems with “Deregulation”
National energy policy opened competition for generation in wholesale power markets
With a few exceptions most retail consumers do not see market prices
Supply and demand cannot be balanced if prices are not communicated to customers
Retail price caps combined with high market prices to push utilities to bankruptcy

## Slide 30: Problems with Deregulation
Design of California market forced major utilities to sell ALL their power to the spot market and to repurchase what they needed to meet loads
This forced large amounts of power to be purchased from 1 to 24 hours before it was needed to meet loads
Market instabilities are amplified by the short term structure of the California market

## Slide 31: Future of Wholesale Competition
New generation will be necessary to bring prices down but it will take 3 –5 years
Markets are immature and new are rules needed
Wholesale deregulation does not allow most loads to adjust to market prices
NW Market is very thin and will continue to be volatile