## Slide 1: System Controller Practices
Coordination
June 14, 2001

## Slide 2: Electric Utility Act Provisions (1) Section 11:
“A person appointed under section 9(2)(b) shall, in accordance with the rules of the power pool,
(a) determine, according to relative economic merit and having due regard for -----------------------------------
(iii) the safe, reliable and economic operation of the Interconnected electric system, including consideration for
(A) the provision of adequate system support services,--------------------------------------
the order in which electric energy produced by generating units in Alberta is to be dispatched-------”
Note: PPoA Adm. - 9(2)(b)

## Slide 3: Electric Utility Act Provisions (2) Section 12
“A person appointed under section 9(1)(c) shall, in accordance with the rules of the power pool
(a) ensure that electric energy produced by generating units in Alberta is dispatched in the order determined under section 11(a), to the extent that that order of dispatch is in keeping with the safe, reliable and economic operation of the interconnected system
--------------------------------------------------------------------- “
Note : System Controller - 9(1)(c)

## Slide 4: Security
State of being secure (not exposed to danger)
Conditions that minimize possibility of incurring losses
Measures resulting in damage avoidance
Sense of safety

## Slide 5: Pool Code - Glossary
System Security:
Safe scheduling,operation and control of the system
On a day to day basis (i.e. continuous)
In accordance with the specified technical, security and operational standards prescribed by the Transmission Administrator

## Slide 6: System Controller (SC) Role (1)
System Security Problem (e.g. insufficient Ancillary Services) - SC may issue directives
Supply Adequacy Problem - SC has an “active coordination role” - obligation to discuss with the parties that effect the demand supply balance and try to find mutually acceptable solutions

## Slide 7: System Controller (SC) Role (2)
Alternative 1: a mutually acceptable (SC - supplier) solution is found - the SC implements the solution and dispatches accordingly
Alternative 2: no mutually acceptable solution is found - the SC proceeds with the 25 steps prescribed in POP 801 - Pool Code - in real time