## Slide 1: Proactive Control of UAF

## Slide 2: Current Practice
Field Teams are operating in a reactive mode.
Reports are reviewed after close of the month.
Stations are audited/verified when UAF increases.
Chromatograph problems may not be found for several days.

## Slide 3: Current Practice
Un-Metered gas volumes are not being reported timely.
Problems with a flow computers can take several days to address and correct.
ETRS (RMA) is not being used at all locations.
Measurement Desk and GMS are relied on to analyze data and locate problems.

## Slide 4: Results
Fire drills when UAF increases.
Excessive data review by Field Teams.
Unscheduled visits/audits of facilities.
Increased PPA’s
UAF.

## Slide 5: Proactive Approach
Take responsibility of the entire measurement process before problems occur.

## Slide 6: Proactive Approach
Take the time to do the work right the first time.
Perform preventive maintenance on measurement equipment.
Find and correct problems as soon as possible.
Provide Training on new measurement equipment and procedure changes.

## Slide 7: Proactive Approach
Report data corrections to GMS as soon as possible.
Review current months missing data reports.
Use ETRS (RMA) application for all meter inspections.
Verify that all measurement changes are made within the PGAS system.

## Slide 8: Other Improvements
Update the Measurement Desk “Problem Tracking Report” to provide better control and tracking of issues.
Require all departments to use the Measurement Desk for tracking and reporting of problems – central focal point.

## Slide 9: Data Validation
Comparison of EFM configuration against GMS system.
Validation of flow computer volume calculations.
Compare original EFM volumes against GMS reported volumes.
Compare EFM gas quality against assigned chromatograph quality data.

## Slide 10: Un-Metered Gas Reporting
Require every Team report un-metered gas volumes for every un-metered station, even if volumes are zero.
Report all pipeline blow-downs and purges to Measurement desk for tracking.

## Slide 11: Chromatographs
Use SCADA to remotely monitor chromatographs.
Develop a check list for Teams to use when performing routine inspections.
Perform a 3rd Party Audit of field chromatographs to insure proper installation & operation.

## Slide 12: Flow Computers
Audit field sites to insure proper installation of EFM equipment.
Inspect power supply systems to insure proper equipment is being used and maintained.
Setup SCADA to monitor power supply alarms and battery voltage from EFM sites.
Develop a check list for Field Teams use when performing inspections on an EFM station.

## Slide 13: Results – Proactive Approach
More accurate data – cleaner close.
Reduced measurement uncertainty.
Reduction of time required from field teams for UAF meetings, data review…
Increased customer satisfaction.
Better control of UAF.

## Slide 14: Action Items
Configure SCADA to perform a detailed monitoring of chromatographs.
Configure SCADA to monitor battery voltages and charger alarms.
Setup a maintenance program for field UPS systems such as battery replacement.
Implement a single tracking and reporting tool to track measurement problems.

## Slide 15: Action Items
Replace the Measurement desk tracking report with an Intranet based tracking application.
Implement a report to compare original EFM volumes to statement volumes.
Implement a report to compare EFM gas quality to chromatograph values.

## Slide 16: Action Items
Implement check list as a standard practice for all equipment inspections.
Implement a data analysis application for automatic data validation.