## Slide 1: Regional Transmission Organizations
A Competitive Solution for Sustaining and Improving Electric Reliability and Economic Efficiency
September 2001

## Slide 2: Overview
Evolution of Wholesale Electric Markets
Achieving Economic Efficiency and Reliability
Economic Benefits
Reliability Benefits
Scope of FERC Proposal
Conclusion

## Slide 3: Evolution of Wholesale Electric Markets From Local to Regional in Scope
Vertically-integrated electric utilities built and operated power plants on a stand-alone basis to serve retail customers in their franchise areas
Wholesale markets were local, and utilities traded electricity with neighboring utilities
Eventually, wholesale markets expanded from local to multi-state regional markets
Increased scope was driven by:
  Economics
  Reliability
Implementation of RTOs today is not dependent on a deregulated retail market

## Slide 4: FERC’s Approach to Achieving Economic Efficiency and Reliability In a New Century
Increased demand and rising costs require access to, and utilization of, transmission networks on a comparable basis for all market participants
FERC Order 888 provides market participants with non-discriminatory open-access to transmission networks
FERC Order 2000 requires utilities owning transmission networks to develop independent RTOs
  These organizations would be independent of both buyers and sellers
FERC Orders of July 12, 2001 calls for the:
  Development of five RTOs covering the entire nation
  Organizational as well as physical infrastructure necessary for supporting competitive electricity markets
  Standardization of interconnection procedures

## Slide 5: Economic Benefits of Large RTOs
Savings from increased energy trade and competition – larger markets provide access to more buyers and sellers, with resulting downward pressure on prices
  Discrimination in today’s market place hurts consumers to the extent they cannot obtain the cheapest most efficient sources of power products and deal structures
Use of existing generation is more efficient, and viability of new environmentally friendly technologies is increased
As total number of institutions is reduced, savings in RTO set-up and operating costs are realized
  Larger RTOs can spread operational costs over a greater number of users or transactions

## Slide 6: Reliability Benefits of Large RTOs
Consistency in reliability criteria in each geographic region
Ability to better see the “big picture” across a region
Improved transmission system planning
Improved outage coordination
Increased ability to determine available transmission capacity and manage congestion
Increased coordination of real-time energy disturbances

## Slide 7: Scope of RTOs is Appropriate and Necessary
Continued integration of the high-voltage transmission system in the United States will lead to more efficient use of generating resources, reducing energy bills, conserving resources and new investment in transmission
Vertically integrated utilities continue to discriminate against IPPs and power marketers through scheduling advantages, inadequate and delayed information sharing
Integration can only be accomplished through organizations of sufficient scope to encompass the relevant market
Industry efforts to date have been slow to develop, and represent an excessive degree of fragmentation
Integration must span a sufficient geographic scope to realize the gains from improved operating and planning efficiency for generation and transmission
Efficient and reliable operation of our nation’s bulk transmission system requires elimination of inconsistent and burdensome differences in how access to this resource is granted

## Slide 8: Conclusion
FERCs mediation process for the Southeast was focused and productive
Results of 45-day mediation process reflect the majority of participants favoring a “best practices” PJM/SPP cornerstones as initial market structure
  Real time spot energy market
  Efficient mechanisms to assure optimization and relieve congestion
  Independent board structure that accommodates a for-profit RTO entity with a significant stakeholder advisory process
  Endorsed Transco
Southeast RTO plan enjoys strong support from a broad cross-section of interested parties
  Municipal utilities
  Cooperatives
  Electricity consumers
  Power marketers
Public support for FERC implementation of RTOs is next step