## Slide 1: Relationship Between Installed Capacity and Energy Markets
September 24, 2001
Mark Younger
Slater Consulting

## Slide 2: Purpose of Installed Capacity
The Purpose of Installed Capacity is to assure that there is sufficient generation capacity to reliably serve load
The accepted standard for Installed Capacity is an expectation of no more than one day in ten years of failure to serve load due to insufficient generating capacity

## Slide 3: Purpose of Energy Market
The purpose of the energy market is to schedule and dispatch sufficient resources to meet the daily/hourly/minute by minute demand for electricity.

## Slide 4: How ICAP Assures Reliability
ICAP requirement determines how much capacity must be available to assure reliability (additionally in NY there are locational ICAP requirements)
Resources incented to maintain availability
The pure reliability resource is cheap to build with no consideration of running costs
Deficiency charges are therefore based upon a multiple of the levelized cost of building a GT.

## Slide 5: How Do Resource Planners Traditionally Determine Which Resources to Add
Assume that you will add GTs to assure reliability
Choose to add baseload resources if the efficiency gains from the baseload resource are “paid” for by avoiding more expensive energy sources
Deregulated markets effectively produce the same result when potential entrants compare their costs to expected energy and capacity revenues.

## Slide 6: Proposed Replacements for ICAP Market
Make ICAP payments only to new providers
Contract with GTs to assure reliability
Eliminate ICAP Altogether

## Slide 7: Problems With Only Paying New Suppliers
New suppliers are not the only resources that add to reliability
This is not a market mechanism - It is a command and control mechanism
What is a new resource - do all potentially mobile resources leave if they are not paid continuously.
Energy Prices will rise as existing resources have to recover more fixed costs in the energy market

## Slide 8: Problems With Contracting With GTs To Assure Reliability
Which GTs get contracts
Over time there will be less baseload resources
Energy prices will rise due to both the baseload/peaking resource mix distortion and because generators without contracts will need to recover fixed costs through their energy payments

## Slide 9: Problems With Eliminating ICAP
Generators must recover all their fixed costs through energy markets
Energy markets do not provide a stable indicator of the need for capacity because demand is strongly influenced by random factor such as weather.
Additional risk will result in higher energy costs than energy plus capacity in an ICAP market

## Slide 10: Energy Market Impact if ICAP Eliminated
If ICAP is eliminated then Energy price caps must also be eliminated
Energy prices must be able to rise sufficiently to induce new entry
This requires prices of ~$700/MWh for 175 hours/year or ~$42,000/MWh for 2.4 hours/year
Average energy prices would rise

## Slide 11: Market Monitoring Impact If ICAP Eliminated
Reliability incentive is provided by including substantial shortage value in the energy market.
Generators would need flexibility to modify bids over time to capture shortage value
No longer valid to mitigate generators based upon deviation from past bidding behavior
Fast action mitigation would most likely have to be eliminated