## Slide 1
Texas
Oklahoma
New Mexico
Arizona
Kansas
Colorado
San Juan
Basin
Anadarko
Basin
Permian
Basin
Utah
Nevada
5
Notes: Gallup - some start-up operational issues to date (unit vibration)
  Unit will go down 6/21-25 for some maintenance work
  Bisti unit on the San Juan will go down for maintenance also on 6/21 for one day. San Juan capacity for 6/21 will be approx 700,000 MMbtu/d. June 22 through June 25.San Juan capacity will be approximately 800,000 MMbtu/d. WOT capacity will be drop from 1090 to 953
Available capacity going West for remainder of 2000 is approx. 63,000 MMBtu/d, and approx 95,000 for 2001
Enron On-Line - Effective July 1 TW will make available for sale 20,000 MMBtu/d of west space using EOL. This will be a process similar to the Interactive Open Season used previously. We encourage all our customers, if they haven’t already, to access the EOL web site and get set up use the system on July 1.
Existing interconnect with NGPL will be reactivated mid- to late July. The Winkler point will have flow capability of 85,000 MMBtu/d