## Slide 1: INSTITUTE OF THE AMERICAS
US Energy Policy and its implication
on Latin American Economies
- THE ENERGY CRISIS IN BRAZIL -
LESSONS FROM CALIFORNIA
Luiz T. A. Maurer
Washington,
September 05, 2001

## Slide 2: AGENDA
The energy crisis in Brazil
Similarities and differences
How the crisis has been handled
Key challenges
Final remarks

## Slide 3: THE ENERGY CRISIS IN BRAZIL
Brazil is suffering on of the most severe electricity rationing crisis of its recent history
Drastic measures have been announced in late May
Under which all customers must reduce consumption by an average of 20% until rainy season starts at year end
Encompassing the heavily industrialized and populated Southeast region
Customers who fail to reduce are subject to heavy fines

## Slide 4: CAUSES ARE MANY (1/2)
Demand grew rapidly in the 90s
  With 1999 consumption about 55% higher than 90’s
  But installed capacity grew about 25% in the same period
Attempts to restructure the sector in 1997 achieved some results - but were not fully implemented and did not suffice
Regulatory uncertainties and lack of revenues led to a lack of investments
Analysts long predicted that the above factors had the potential to lead to shortage

## Slide 5: CAUSES ARE MANY (2/2)
Brazil is heavily dependent on hydro - more than 90% of its electricity consumption (340 TWh) - California is also dependent on hydro
Hydro dependent system has been strained beyond capacity after several years of below average rainfall
Leaving reservoirs about 70% depleted in May (end of rainy seasons)
If nothing had been done, reservoirs completely depleted in October
Analysts vary in predictions of how long crisis will last - perhaps still a 5% reduction throughout 2002; Analysts disagree on how severe the economic impact will be
Ironically, with abundance of natural gas in the S/SE regions - due to recent commissioning of the Bolivia-Brazil pipeline

## Slide 6: SIMILARITIES AND DIFFERENCES
The energy crisis in Brazil bears strong resemblance with the energy crisis in California [perhaps on the surface]
  Results of at least one demand and supply shock
  Rates to retail customers artificially low
  A regulatory and commercial framework not conducive to new investments
  Both “countries” initiated sector reform in mid 90 - towards a more competitive regime
  Financial imbalances between buyers and sellers - “Annex V”, Wall Street Journal front page headlines

## Slide 7: DESPITE SIGNIFICANT REGULATORY AND MARKET DIFFERENCES, INITIAL VERDICT WAS SIMPLE - “BLAME IT ON DEREGULATION”

## Slide 8: HOW THE CRISIS HAS BEEN HANDLED
Crisis has long been anticipated
However, it was “officially” acknowledged only on May 03
“Clock was ticking” - it was necessary to put together, in a few days, a comprehensive plan to cut consumption by at least 20% for 8-9 months
Brazil had some experience in the past dealing with rationing - but in a more limited scope and scale
There were two ways of approaching the problem
  “Rolling black-outs” - leveraging on California’s experience
  Quotas - as it has been done in the past

## Slide 9: HOW THE CRISIS HAS BEEN HANDLED
Brazil decided to leverage on market signals
  “Quotas” were assigned to all customers, based on 2000 historical average consumption
  Quotas were differentiated by customer group
  Economic signals - “penalties” for those exceeding their quotas and “bonuses” for overachievers (low income)
  Economic signals linked to prices in the energy wholesale market
  A secondary market for exchanging quotas was established - initially > 3 MW, now more customers
  In principle, commercial contracts remain effective
With a clear, honest perception of crisis
  Scarcity does exist - not a result of greedy investors
  Fix first, look for scapegoats next
  Government is cognizant and will try to fix mistakes which led to under investment

## Slide 10: HOW THE CRISIS HAS BEEN HANDLED
Rolling black-outs were overruled, as they did not seem to fit into the Brazilian crisis
  Contrary to California, it is not a peak shaving issue
  Energy rationing is more complex - customers have the ability to do intra-day “load shifting”
  Network is intermeshed, not separating essential loads - besides, automation is very limited at distribution level
  Those factors would entail a disproportionate burden on some customers (10-16 hours/day) - leading to an urban chaos
Furthermore, rolling black-outs provided a poor allocation of a scarce resource
  Willingness to pay varying within a wide range (1:60)
  Some economists: significantly higher GDP reduction

## Slide 11: HOW THE CRISIS HAS BEEN HANDLED RESULTS SO FAR HAVE MET TARGETS MW Peak Consumption

## Slide 12: HOW THE CRISIS HAS BEEN HANDLED
The choice was not an easy one and faced strong opposition
Rolling black-out advocates had several arguments
  Electricity has no elasticity - let alone in the required timeframe
  15% of customers will challenge their quotas
  Time required to prepare IT systems and procedures
  Uncertainty of achieving desired results – “it may be too late”…
  And California has been using this mechanism…
With subsequent pressures on the commercial sides
  Let’s set a cap on spot prices - California did it
  Initial contracts should be suspended
  And other disguised mechanisms equivalent to “bail-outs”
It was not an easy decision to be made and to be implemented in a two week timeframe

## Slide 13: KEY CHALLENGES
Despite the success of the rationing program, they are still a long way from creating a healthy, competitive energy sector
Some key challenges include:
  Have a functioning Wholesale Market
  Finalize implementation of the new model
  Create a climate of “virtuous contracting”
  Align prices to market reality
Each one of these challenges will be discussed in turn

## Slide 14: HAVE A FUNCTIONING ELECTRIC WHOLESALE MARKET (MAE)
Since its inception, MAE has not settled contracts
  In part, due to several bilateral disputes
  But mostly due to stakeholder Boards inability to make meaningful decisions (i.e. California ISO)
MAE became an essential piece
  Foundation for the rationing plan
  To support new generation -- e.g. merchant plants
The government has exercised step-in rights and has been putting all the effort to make it happen

## Slide 15: FINALIZE IMPLEMENTATION OF THE NEW MODEL
A new, modern electric sector reform initiated in 1997 - including privatization and deregulation
Important actions taken – creation of ISO, MAE, ANEEL - but the effort has lost momentum
California and the domestic crisis have cast doubts on the model per se
Most agree that the effort is half-way completed
Pressing need to keep wholesale competition and retail competition on schedule
Important lesson from California: get as much demand response as possible - processes and systems to make it happen

## Slide 16: PERHAPS THE REAL CHALLENGE IS TO CREATE A SEAMLESS “VIRTUOUS CIRCLE” OF CONTRACTING
REGULATORY/COMMERCIAL
ENVIRONMENT CONDUCIVE
TO CONTRACTING
CULTURE OF
CONTRACT
“SANCTITY”
RESPONSIBLE
CONTRACTING
ATTITUDE

## Slide 17: CONTRACTS ARE BASIC PILLARS OF THE NEW MODEL
Basis for
  Competition
  Risk allocation/pricing
  Financial hedge against MAE price volatility
  Certainty for investors
  Therefore, pre-requisite for expansion
Contracts often alleged as one of the major differences between the Brazilian and the Californian model
This is a true statement - as long as contracts are honored
Some important contract disputes (see next page) involve Government or SOEs
A culture of contract sanctity becomes a “must” to attract new investments to mitigate rationing crisis

## Slide 18: ELECTRIC ENERGY CONTRACT DISPUTES

## Slide 19: ALIGN PRICES TO MARKET REALITY
Brazil and California crisis had a strong point in common
  A failed attempt to keep prices artificially low
  Which becomes explosive when scarcity becomes more severe
Regulators, in an attempt to “protect”customers, have shielded them from market reality
Which in the particular case of California has created imbalances between the wholesale and retail markets - with serious financial consequences for incumbent utilities
The rationing experience in Brazil shows that demand response is fast and effective
Lesson should be applied on an ongoing basis

## Slide 20: FINAL REMARKS
California experience has been very enlightening - good and bad lessons
Deregulation works - ample empirical evidence elsewhere
It is not easy to break entrenched monopolies - change requires high level support
Markets do work, demand response does exist, and it is essential to a healthy competition
Fears and concerns do exist - but response is to accelerate, not to stop deregulation
“The California electricity crisis is not really a story about environmentalists going mad, deregulatory details ignored, or unrestrained capitalists running amuck. It is a story about what happens when price controls are imposed on scarce goods” (Taylor and VanDoren)