## Slide 1: Co-Op City
Asset Management Issues

## Slide 2: Market Structure
Co-op
City
Aux.
Boiler
Baseload
30 MW
Cogen
Gas
Steam
Power
Market
Power
Gas
Power
Peaking
30 MW
Cogen
Gas
Steam
Steam
Power
Power

## Slide 3: Decision Matrix

## Slide 4: Benchmark Levels
Fuel
  Assuming dispatch on a 7x24 hour basis (100% availability?)
  60mw X 8760h X 11mmbtu/mwh X $5/mmbtu (natural gas price set during annual budgeting process? based on NYMEX, transportation, LDC, basis, index?)
  $28,908,000 million benchmark budget
  All purchases & sales related to gas will be tracked over course of year
  Any cost savings below fuel benchmark split (50/50?) between Enron & Co-op City
  (Is steam generated by auxiliary boiler covered by this?)

## Slide 5: Benchmark Levels
Variable O&M
  Engineering input? What is typical in O&M contracts?
  Budget level set based on expected operations
  Any cost savings below fuel benchmark split between Enron & Co-op City
    Under this structure, if the plant is run less than 7x24, Enron would be able to benefit from benchmark cost savings (how to share?)

## Slide 6: Benchmark Levels
Power Sales
  Assuming dispatch on a 7x24 hour basis
  Benchmark price based on fuel index times heat rate (should VOM be included?)
  $5/mmbtu X 11 mmbtu/mwh = $55/mwh
  All sales to load at benchmark price ($55/mwh)
    Enron will benefit whenever the implied market heat rate is above Co-Op City’s (how to share?)

## Slide 7: Benchmark Levels
Steam
  Priced at auxiliary boiler steam rate
  Benchmark set at fuel price X usage X steam rate
    $5/mmbtu X 1,466,000 mlbs/year X 1.375 mmbtu/mlb
    $10,078,750 per year
  Ability to produce steam at lower costs results in shared savings between Enron & Co-op City
    Steam sales should be incorporated in power plant heat rate to produce a steam-adjusted heat rate factor for dispatch
(Would not need Aux Boiler if 7x24, 100% availability of turbines)

## Slide 8: Other Issues
Ancillary services (ICAP, etc.)
Contracts
  EPC
  O&M
  Fuel
  Transport