## Slide 1: Summer 2001 WSCC L/R Outlook Peak L/R Balance Relative to Summer 2000

## Slide 2: Summer 2001 WSCC L/R Outlook Peak L/R Balance Relative to Summer 2000
New generation does NOT include startup of Huntington Beach 3 & 4 (450 MW) or AES Rosarita MX (450 MW)
Implicitly assumes same outage levels as 2000
Assumes same peak loads as 2000, less assumed conservation efforts