## Slide 1: Outage Coordination in Alberta June 14, 2001 Fred Ritter, P.Eng., ESBI Alberta Ltd

## Slide 2: Agenda
Introduction of Participants
Current Coordination practices
Information posting practices
System Controller processes
Information needs for 2002
System Restoration plans
Other issues?

## Slide 3: TA Review and Analysis Practices
Generators provide TA with outage schedules & changes
Confidentiality agreements
Confidential fax line
Gen outages considered in scheduling transmission
TA adjusts adequacy forecasts
TA does not request changes to generator maintenance schedules but may request changes to those generators providing Ancillary services under contract.

## Slide 4: EAL Adequacy Forecasts and Posting
Posted on web site and updated daily
Supply adjusted to reflect availability of interruptible loads
Need information regarding changes in a timely manner
Propose to eliminate or replace the 800 MW import availability graph
Post numerical values - is there support for this?

## Slide 5: Annual Adequacy Forecast

## Slide 6: Adequacy Forecast - 14 day

## Slide 7: System Controller Practices
SC to discuss

## Slide 8: TA Information Needs for 2002
Generator maintenance plans for 2002-Oct.1, 2001
Future requirements:
  generator forced outage rates and performance

## Slide 9: System Restoration Plans
Copy of plan provided , no comments received
Was developed with generator input
propose to continue to coordinate directly with owners of generators regarding the plan
EAL continuing to negotiate for black start services

## Slide 11: Ancillary Services Exchange
AS Exchange planned for start July 4, 2001
See EAL web site for technical requirements and TAOPs which become effective July 3.

## Slide 12: Next Steps
TA/SC continue to make adequacy assessments and report on an ongoing basis.
Meeting in Fall to review process
Others?

## Slide 13: Questions...
Web sites:
www.eal.ab.ca
www.powerpool.ab.ca