## Slide 1
PIPELINE
PIPELINE PRESSURE IN P.S.I.G.
COMPRESSOR STATION
7
970
LEGEND
TRANSWESTERN PIPELINE COMPANY
DOCKET NO. CP01-
EXHIBIT G
FLOW DIAGRAM OF EXISTING FACILITIES
DAILY DESIGN CAPACITY (SUMMER DAY)
4
3
2
1
942
993
808
1008
810
972
788
955
775
Needles
740 MMcfd
Topock
310 MMcfd
Flagstaff
7.1 MMcf/d
833 psig
Kingman
40 MMcfd
875 psig
San Juan 850,050 Mcf/d
30”ML/LL
5
700
West Texas 257,790 Mcf/d
Gallup
1,090,000 Mcf/d
950
750
27.2 mi.
43.1 mi.
85.9 mi.
30”ML/LL
58.7 mi.
89.6 mi.
30”ML/LL
30”ML/LL
30”ML/LL
54.1 mi.
20 mi.
840
PIPE
MAINLINE 30” X 0.375’ W.T.
LOOP LINE 30” X 0.350’ W.T.
(Mileage can vary due to rounding)
Note: Volume at take-off points vary depending upon daily nominations and scheduling.
Notes: 2

## Slide 2
TRANSWESTERN PIPELINE COMPANY
DOCKET NO. CP01-
EXHIBIT G
FLOW DIAGRAM OF PROPOSED FACILITIES
DAILY DESIGN CAPACITY (SUMMER DAY)
PIPE
MAINLINE 30” X 0.375’ W.T.
LOOP LINE 30” X 0.350’ W.T.
(Mileage can vary due to rounding)
PIPELINE
PIPELINE PRESSURE IN P.S.I.G.
COMPRESSOR STATION
7
970
LEGEND
954
766
1005
742
732
736
San Juan 850,050 Mcf/d
5
785
West Texas 413,161 Mcf/d
Gallup
950
750
1007
1005
1005
4
3
2
1
Needles
855 MMcfd
Topock
310 MMcfd
Kingman
75 MMcfd
895 psig
30”ML/LL
5
1,240,000 Mcf/d
27.2 mi.
43.1 mi.
85.9 mi.
30”ML/LL
58.7 mi.
89.6 mi.
30”ML/LL
30”ML/LL
30”ML/LL
54.1 mi.
20 mi.
Flagstaff
7.1 MMcfd
785 psig
848
Note: Volume at take-off points vary depending upon daily nominations and scheduling.
Notes: 2