## Pittsburg 07
Owner Name | Mirant California LLC
Station Name | Pittsburg Power Station
Unit Name | Pittsburg 07
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 751 MW
Start Date | 2002-01-03
End Date | 2002-01-10
Comments | Unit is down with boiler leak
SIC | 4931
Plant ID | 1507901
Unit ID | 1004745
Outage ID | 19355