## O W Sommers 01
Owner Name | San Antonio City Public Service Board
Station Name | OW Sommers Power Station
Unit Name | Sommers 01
NERC Region | ERCOT
State | TX
Fuel Type | Natural Gas
Capacity | 446 MW
Start Date | 2002-01-03
End Date | 2002-02-10
Comments | Boiler Problems
SIC | 4911
Plant ID | 1002208
Unit ID | 1005824
Outage ID | 19380

## Four Corners 04
Owner Name | Arizona Public Services
Station Name | Four Corners Power Station
Unit Name | Four Corners 04
NERC Region | WSCC
State | NM
Fuel Type | Coal
Capacity | 818 MW
Start Date | 2002-01-03
End Date | 2002-01-06
Comments | Tube leak.
SIC | 4911
Plant ID | 1523368
Unit ID | 1007554
Outage ID | 19375

## Four Corners 03
Owner Name | Arizona Public Services
Station Name | Four Corners Power Station
Unit Name | Four Corners 03
NERC Region | WSCC
State | NM
Fuel Type | Coal
Capacity | 253 MW
Start Date | 2002-01-04
End Date | 2002-01-13
Comments | Reliability work.
SIC | 4911
Plant ID | 1523368
Unit ID | 1007554
Outage ID | 19374

## San Juan 01
Owner Name | Public Service Company of New Mexico
Station Name | San Juan Generating Station
Unit Name | San Juan 01
NERC Region | WSCC
State | NM
Fuel Type | Coal
Capacity | 361 MW
Start Date | 2001-12-31
End Date | 2002-01-05
Comments | Tube Leak
SIC | 4911
Plant ID | 1016385
Unit ID | 1007769
Outage ID | 19358