## Paradise 01
Owner Name | Tennesse Valley Authority
Station Name | Paradise Power Station
Unit Name | Paradise 01
NERC Region | SERC
State | KY
Fuel Type | Coal
Capacity | 704 MW
Start Date | 2002-01-04
End Date | 2002-02-07
Prv. Start Date | 2002-01-11
Prv. End Date | 2002-02-09
Comments | Replacing Superheater
SIC | 4911
Plant ID | 1012553
Unit ID | 1003646
Outage ID | 18557

## Mojave 02
Owner Name | Southern California Edison Company
Station Name | Mojave Power Station
Unit Name | Mojave 02
NERC Region | WSCC
State | CA
Fuel Type | Coal
Capacity | 818 MW
Start Date | 2001-12-29
End Date | 2002-01-05
Prv. Start Date | 2001-12-29
Prv. End Date | 2002-01-04
Comments | Boiler leak
SIC | 4911
Plant ID | 1015381
Unit ID | 1006330
Outage ID | 19326

## Victor J Daniel 02
Owner Name | Mississippi Power Company
Station Name | Victor J Daniel Jr Power Station
Unit Name | Victor J Daniel 02
NERC Region | SERC
State | MS
Fuel Type | Coal
Capacity | 500 MW
Start Date | 2002-01-04
End Date | 2002-02-28
Prv. Start Date | 2002-01-06
Prv. End Date | 2002-03-23
Comments | Turbine / Boiler Overhaul
SIC | 4911
Plant ID | 1005982
Unit ID | 1007695
Outage ID | 12097

## Yates 01
Owner Name | Georgia Power Company
Station Name | Yates Power Station
Unit Name | Yates 01
NERC Region | SERC
State | GA
Fuel Type | Coal
Capacity | 123 MW
Start Date | 2002-03-08
End Date | 2002-03-22
Prv. Start Date | 2002-01-04
Prv. End Date | 2002-01-17
Comments | Scrubber Cleaning
SIC | 4911
Plant ID | 1013872
Unit ID | 1005523
Outage ID | 10062