## Leland Olds 01
Owner Name | Basin Electric Power
Station Name | Leland Olds Power Station
Plant ID | 1014227
Unit Name | Leland Olds 01
Unit ID | 1007280
NERC Region | MAPP
State | ND
Fuel Type | Lignite
Capacity | 216 MW
Start Date | 2001-09-01
End Date | 2001-10-05
Prv. Start Date | 2001-01-06
Prv. End Date | 2001-02-09
Outage ID | 8515
Comments | This outage got pushed until fall.
SIC | 4911

## Gavins Point Hydro 01
Owner Name | US Army Corps of Engineers
Station Name | Gavins Point Dam Hydro
Plant ID | 1501661
Unit Name | Hydro 01
Unit ID | 1007252
NERC Region | MAPP
State | SD
Fuel Type | Hydro
Capacity | 44 MW
Start Date | 2000-12-10
End Date | 2001-01-19
Prv. Start Date | 2000-12-10
Prv. End Date | 2001-01-08
Outage ID | 11999
Comments | Cavitation is scheduled to be complete on the 19th
SIC | 4911

## Meramec 01
Owner Name | AmerenUE
Station Name | Meramec Power Station
Plant ID | 1013387
Unit Name | Meramec 01
Unit ID | 1006122
NERC Region | MAIN
State | MO
Fuel Type | coal
Capacity | 125 MW
Start Date | 2000-10-16
End Date | 2001-02-03
Prv. Start Date | 2000-10-16
Prv. End Date | 2001-01-07
Outage ID | 10256
Comments | Boiler/Turb/Precipitator
SIC | 4911

## Meramec 02
Owner Name | AmerenUE
Station Name | Meramec Power Station
Plant ID | 1013387
Unit Name | Meramec 02
Unit ID | 1006126
NERC Region | MAIN
State | MO
Fuel Type | coal
Capacity | 138 MW
Start Date | 2000-10-16
End Date | 2001-02-03
Prv. Start Date | 2000-10-16
Prv. End Date | 2001-01-14
Outage ID | 10257
Comments | Boiler/Turb/Precipitator
SIC | 4911

## James A Fitzpatrick
Owner Name | Entergy Nuclear Generation Company
Station Name | James A Fitzpatrick Nuclear Power Station
Plant ID | 1503222
Unit Name | James A Fitzpatrick 01
Unit ID | 1005229
NERC Region | NPCC
State | NY
Fuel Type | nuclear
Capacity | 883
Start Date
End Date
Prv. Start Date
Prv. End Date
Outage ID
Comments | Operating at 60% to do an intake cleaning, not anticipating having to decrease power any further. Should be to 100% in a day or two
SIC | 4911