## Colstrip 04
Owner Name | PPL Montana LLC
Station Name | Colstrip Power Station
Unit Name | Colstrip 04
NERC Region | WSCC
State | MT
Fuel Type | Coal
Capacity | 778 MW
Start Date | 2002-01-08
End Date | 2002-01-10
Comments | Tube repairs
SIC | 4911
Plant ID | 1015370
Unit ID | 1007495
Outage ID | 19414

## Homer City 01
Owner Name | Edison Mission Energy
Station Name | Homer City Power Station
Unit Name | Homer City 01
NERC Region | MAAC
State | PA
Fuel Type | Coal
Capacity | 660 MW
Start Date | 2002-01-08
End Date | 2002-02-06
Comments | Unit is down with a crack in the header.
SIC | 4911
Plant ID | 1016344
Unit ID | 1009411
Outage ID | 19408

## Ormond Beach 01
Owner Name | Reliant Energy Ormond Energy
Station Name | Ormond Beach Power Station
Unit Name | Unit 01
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 806 MW
Start Date | 2002-01-07
End Date | 2002-02-10
Comments | Overhaul
SIC | 4931
Plant ID | 1013123
Unit ID | 1006706
Outage ID | 19404

## Scherer 02
Owner Name | Oglethorpe Power Company.
Station Name | Robert Scherer Power Station
Unit Name | Scherer 02
NERC Region | SERC
State | GA
Fuel Type | Coal
Capacity | 891 MW
Start Date | 2002-01-08
End Date | 2002-01-10
Comments | Unit is down with a boiler leak.
SIC | 4911
Plant ID | 1014200
Unit ID | 1005653
Outage ID | 19402