## Moss Landing 06
Owner Name | Duke Energy Moss Landing LLC
Station Name | Moss Landing Power Station
Unit Name | Unit 06
NERC Region | WSCC
State | CA
Fuel Type | Nat. gas/Fuel Oil
Capacity | 812 MW
Start Date | 2002-01-09
End Date | 2002-01-13
Comments | Unit's running at reduced power (300 MW) due to fan & bearing problems. Expected to be back at full power by end of the week.
SIC | 4911
Plant ID | 1011212
Unit ID | 1005366
Outage ID