## Arthur Kill 02
Owner Name | Arthur Kill Power LLC
Station Name | Arthur Kill Power LLC
Unit Name | Unit 02
NERC Region | NPCC
State | NY
Fuel Type | Natural Gas
Capacity | 376 MW
Start Date | 2002-01-09
End Date | 2002-03-26
Prv. Start Date | 2002-01-26
Prv. End Date | 2002-04-26
Comments | Having problems with the unit and had to start planned maintenance early.
SIC | 4931
Plant ID | 1016006
Unit ID | 1004416
Outage ID | 1717

## Scherer 02
Owner Name | Oglethorpe Power Company
Station Name | Scherer Power Station
Unit Name | Scherer 02
NERC Region | SERC
State | GA
Fuel Type | Coal
Capacity | 891 MW
Start Date | 2002-01-08
End Date | 2002-01-09
Prv. Start Date | 2002-01-08
Prv. End Date | 2002-01-10
Comments | Boiler Leak
SIC | 4911
Plant ID | 1014200
Unit ID | 1005653
Outage ID | 19402