## Quad Cities 01
Owner Name | Exelon Nuclear
Station Name | Quad Cities Nuclear Power Station
Unit Name | Quad Cities 01
NERC Region | MAIN
State | IL
Fuel Type | Nuclear
Capacity | 838 MW
Start Date | 2002-01-09
End Date | 2002-01-12
Comments | Pump repairs.
SIC | 4911
Plant ID | 1515021
Unit ID | 1007229
Outage ID | 19442

## Keystone 01
Owner Name | Reliant Energy
Station Name | Keystone Power Station
Unit Name | Keystone 01
NERC Region | MAAC
State | PA
Fuel Type | Coal
Capacity | 936 MW
Start Date | 2002-01-10
End Date | 2002-01-16
Comments | Unplanned Repairs
SIC | 4931
Plant ID | 1016346
Unit ID | 1004381
Outage ID | 19436

## Conemaugh 02
Owner Name | PSEG Power LLC
Station Name | Conemaugh Power Station
Unit Name | Conemaugh 02
NERC Region | MAAC
State | VA
Fuel Type | Nuclear
Capacity | 980 MW
Start Date | 2002-01-08
End Date | 1/10/02 am
Comments | Unit went down with a tube leak Tuesday night. However they got the unit back online about 7:30 this morning.
SIC | 4931
Plant ID | 1017267
Unit ID | 1004347
Outage ID | 19440