## Webster 03
Owner Name | Reliant Houston Lighting & Power Company
Station Name | Webster Power Station
Unit Name | Webster 03
NERC Region | ERCOT
State | TX
Fuel Type | Natural Gas
Capacity | 410 MW
Start Date | 2002-01-19
End Date | 2002-03-19
Prv. Start Date | 2002-01-05
Prv. End Date | 2002-03-05
Comments | Turb/Boiler work
SIC | 4911
Plant ID | 1013128
Unit ID | 1004020
Outage ID | 12113

## Northport 04
Owner Name | KeySpan Energy Co.
Station Name | Northport Power Station
Unit Name | Northport 04
NERC Region | NPCC
State | NY
Fuel Type | Fuel Oil/ Nat. Gas
Capacity | 387 MW
Start Date | 2002-01-03
End Date | 2002-01-23
Prv. Start Date | 2002-10-05
Prv. End Date | 2002-10-18
Comments | Preventative Maintenance.
SIC | 4911
Plant ID | 1512112
Unit ID | 1004568
Outage ID | 16906

## Northport 02
Owner Name | KeySpan Energy Co.
Station Name | Northport Power Station
Unit Name | Northport 02
NERC Region | NPCC
State | NY
Fuel Type | Fuel Oil/ Nat. Gas
Capacity | 387 MW
Start Date | 2002-01-24
End Date | 2002-02-13
Prv. Start Date | 2002-09-02
Prv. End Date | 2002-09-15
Comments | Preventative Maintenance.
SIC | 4911
Plant ID | 1512112
Unit ID | 1004555
Outage ID | 16904

## Colstrip 03
Owner Name | PPL Montana LLC
Station Name | Colstrip Power Station
Unit Name | Colstrip 03
NERC Region | WSCC
State | MT
Fuel Type | Coal
Capacity | 778 MW
Start Date | 2002-01-05
End Date | 2002-01-18
Prv. Start Date | 2002-01-05
Prv. End Date | 2002-01-12
Comments | Generator problem. Will be offline for at least another week.
SIC | 4931
Plant ID | 1015370
Unit ID | 1007494
Outage ID | 19382

## Colstrip 04
Owner Name | PPL Montana LLC
Station Name | Colstrip Power Station
Unit Name | Colstrip 04
NERC Region | WSCC
State | MT
Fuel Type | Coal
Capacity | 778 MW
Start Date | 2002-01-08
End Date | 2002-01-10
Prv. Start Date | 2002-01-08
Prv. End Date | 2002-01-15
Comments | Tube repairs
SIC | 4931
Plant ID | 1015370
Unit ID | 1007495
Outage ID | 19414