## Colstrip 04
Owner Name | PPL Montana LLC
Station Name | Colstrip Power Station
Unit Name | Colstrip 04
NERC Region | WSCC
State | MT
Fuel Type | Coal
Capacity | 778 MW
Start Date | 1/15/02 going off-line late tonight
End Date | 2002-01-19
Comments | Boiler repairs
SIC | 4911
Plant ID | 1015370
Unit ID | 1007495
Outage ID | 19499

## Diablo Canyon 02
Owner Name | Pacific Gas and Electric
Station Name | Diablo Canyon Nuclear Station
Unit Name | Diablo Canyon 02
NERC Region | WSCC
State | CA
Fuel Type | Nuclear
Capacity | 1164 MW
Start Date | 2002-01-15
End Date | 2002-01-18
Comments | Unit running at 50% -- No Planned work going on
SIC | 4911
Plant ID | 1016043
Unit ID | 1004944
Outage ID

## Jim Bridger 03
Owner Name | PacifiCorp
Station Name | Jim Bridger Power Station
Unit Name | Jim Bridger 03
NERC Region | WSCC
State | WY
Fuel Type | Coal
Capacity | 578 MW
Start Date | 2002-01-12
End Date | 2002-01-14
Comments | Tube leak
SIC | 4911
Plant ID | 1015362
Unit ID | 1007975
Outage ID | 19486

## Naughton 02
Owner Name | PacifiCorp
Station Name | Naughton Power Station
Unit Name | Naughton 02
NERC Region | WSCC
State | WY
Fuel Type | Coal
Capacity | 218MW
Start Date | 2002-01-13
End Date | 2002-01-13
Comments | Control Failure
SIC | 4911
Plant ID | 1016052
Unit ID | 1007985
Outage ID | 19487