## Salem 02
Owner Name | PSEG Power LLC
Station Name | Salem Nuclear Power Station
Unit Name | Salem 02
NERC Region | MAAC
State | NJ
Fuel Type | Nuclear
Capacity | 1,170 MW
Start Date | 2002-01-11
End Date | 2002-01-16
Prv. Start Date | 2002-01-11
Prv. End Date | 2002-01-18
Comments | Still having generator problem, but the plant decided to bring the unit back on-line to see if they could make it until the refuel in April.
SIC | 4931
Plant ID | 1018459
Unit ID | 1004470
Outage ID | 19447

## Bailly 08
Owner Name | Northern Indiana Public Service Co.
Station Name | Bailly Power Station
Unit Name | Bailly 08
NERC Region | ECAR
State | IN
Fuel Type | Coal/ Nat. gas
Capacity | 422 MW
Start Date | 2001-12-27
End Date | 2002-01-19
Prv. Start Date | 2001-12-27
Prv. End Date | 2002-01-16
Comments | Boiler, valve work.
SIC | 4911
Plant ID | 1010662
Unit ID | 1004703
Outage ID | 17054

## San Juan 04
Owner Name | Public Service Co. of New Mexico
Station Name | San Juan Generating Station
Unit Name | San Juan 04
NERC Region | WSCC
State | NM
Fuel Type | Coal
Capacity | 534 MW
Start Date | 2002-01-10
End Date | 2002-01-21
Prv. Start Date | 2002-01-10
Prv. End Date | 2002-01-14
Comments | Tube repairs.
SIC | 4911
Plant ID | 1016385
Unit ID | 1007773
Outage ID | 19445