## Lower Monumental 01
Owner Name | US Army Corps of Engineers
Station Name | Lower Monumental Hydro Power Station
Unit Name | Hydro 01
NERC Region | WSCC
State | WA
Fuel Type | Hydro
Capacity | 135 MW
Start Date | 2002-01-10
End Date | 2002-01-30
Comments | Minor Generator Work
SIC | 4911
Plant ID | 1033206
Unit ID | 1008876
Outage ID | 19528

## Mitchell 01
Owner Name | American Electric Power Company Incorporated
Station Name | Mitchell Power Station
Unit Name | Mitchell 01
NERC Region | ECAR
State | WV
Fuel Type | Coal
Capacity | 816 MW
Start Date | 2002-01-17
End Date | 2002-01-20
Comments | Steam Leak
SIC | 4911
Plant ID | 1017322
Unit ID | 1007867
Outage ID | 19514