## Colgate Hydro 02
Owner Name | Yuba County Water Agency Power System
Station Name | Colgate Hydro Station
Unit Name | Hydro 02
NERC Region | WSCC
State | CA
Fuel Type | Hydro
Capacity | 167 MW
Start Date | 2002-01-21
End Date | 2002-01-23
Comments | Minor Inspection
SIC | 4911
Plant ID | 1029528
Unit ID | 1007228
Outage ID | 19558

## Morro Bay 04
Owner Name | Duke Energy Morro Bay LLC
Station Name | Morro Bay Power Station
Unit Name | Unit 04
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 359 MW
Start Date | 2002-01-21
End Date | 2002-01-23
Comments | Pressure in the boiler
SIC | 4931
Plant ID | 1008202
Unit ID | 1005164
Outage ID | 19556

## Laramie River 02
Owner Name | Basin Electric Power Station
Station Name | Laramie River Power Station
Unit Name | Laramie River 02
NERC Region | WSCC
State | WY
Fuel Type | Coal
Capacity | 570 MW
Start Date | 2002-01-19
End Date | 2002-01-20
Comments | Valve Problem
SIC | 4911
Plant ID | 1016342
Unit ID | 1007940
Outage ID | 19564