## Monticello 01
Owner Name | Northern States Power Company
Station Name | Monticello Nuclear Power Station
Unit Name | Monticello 01
NERC Region | MAPP
State | MN
Fuel Type | Nuclear
Capacity | 600 MW
Start Date | 2002-01-21
End Date | 2002-01-25
Comments | Turbine Valve Failure
SIC | 4911
Plant ID | 1014043
Unit ID | 1006639
Outage ID | 19575

## Palo Verde 01 R7
Owner Name | Arizona Public Service Company
Station Name | Palo Verde Nuclear Power Station
Unit Name | Palo Verde 01 R7
NERC Region | WSCC
State | AZ
Fuel Type | Nuclear
Capacity | 1,403 MW
Start Date | 2002-01-22
End Date | 1/22/02 pm
Comments | Tripped due to a minor tube leak, hoping to bring unit back up later today.
SIC | 4911
Plant ID | 1015283
Unit ID | 1007870
Outage ID | 19574

## Pittsburg 07
Owner Name | Mirant California, LLC
Station Name | Pittsburg Power Station
Unit Name | Pittsburg 07
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 751 MW
Start Date | 2002-01-22
End Date | 2002-01-25
Comments | Tube Leak
SIC | 4931
Plant ID | 1507951
Unit ID | 1004745
Outage ID | 19570