## Raccoon Mountain 02
Owner Name | Tennessee Valley Authority
Station Name | Raccoon Mountain Pumped Storage
Unit Name | Hydro 02
NERC Region | SERC
State | TN
Fuel Type | Hydro
Capacity | 383 MW
Start Date | 2001-11-03
End Date | 2002-01-20
Prv. Start Date | 2001-11-03
Prv. End Date | 2002-03-02
Comments | Generator Rewind
SIC | 4911
Plant ID | 1508523
Unit ID | 1005730
Outage ID | 5662

## Pittsburg 02
Owner Name | Mirant California LLC
Station Name | Pittsburg Power Station
Unit Name | Pittsburg 02
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 156 MW
Start Date | 2002-01-11
End Date | 2002-01-28
Prv. Start Date | 2002-01-11
Prv. End Date | 2002-01-22
Comments | Multiple tube leak repairs
SIC | 4931
Plant ID | 1507901
Unit ID | 1004728
Outage ID | 19485

## Colgate 02
Owner Name | Yuba County Water Agency
Station Name | Colgate Hydro Station
Unit Name | Hydro 02
NERC Region | WSCC
State | CA
Fuel Type | Hydro
Capacity | 157 MW
Start Date | 2002-01-21
End Date | 2002-02-03
Prv. Start Date | 2002-01-21
Prv. End Date | 2002-01-23
Comments
SIC | 4911
Plant ID | 1029528
Unit ID | 1007228
Outage ID | 19558

## Encina 03
Owner Name | Cabrillo Power LLC
Station Name | Encina Power Station
Unit Name | Encina 03
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 110 MW
Start Date | 2002-01-04
End Date | 2002-01-25
Prv. Start Date | 2002-01-04
Prv. End Date | 2002-01-23
Comments | Asbestos Removal and Inspection
SIC | 4931
Plant ID | 1013264
Unit ID | 1006366
Outage ID | 19378

## Hunters Point 04
Owner Name | Pacific Gas and Electric
Station Name | Hunters Point Power Station
Unit Name | Hunters Point 04
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 156 MW
Start Date | 2001-10-07
End Date | 2002-02-03
Prv. Start Date | 2001-10-07
Prv. End Date | 2002-01-24
Comments | Major Boiler
SIC | 4911
Plant ID | 1011051
Unit ID | 1004950
Outage ID | 15375