## Cholla 04
Owner Name | Arizona Public Service Company
Station Name | Cholla Power Station
Unit Name | Cholla 04
NERC Region | WSCC
State | AZ
Fuel Type | Coal
Capacity | 414 MW
Start Date | 2002-01-24
End Date | 2002-01-28
Comments | Boiler Leak
SIC | 4911
Plant ID | 1016384
Unit ID | 1006666
Outage ID | 19644

## Black 01
Owner Name | Pacific Gas & Electric Company
Station Name | James B. Black Hydro Power House
Unit Name | Hydro 01
NERC Region | WSCC
State | CA
Fuel Type | Hydro
Capacity | 85 MW
Start Date | 2002-01-25
End Date | 2002-01-25
Comments | Tripped - Unit is already back online
SIC | 4911
Plant ID | 1056480
Unit ID | 1020069
Outage ID | 19653