## Gallatin 02
Owner Name | Tennesse Valley Authority
Station Name | Gallatin Power Station
Unit Name | Gallatin 02
NERC Region | SERC
State | TN
Fuel Type | Coal
Capacity | 300 MW
Start Date | 2002-02-08
End Date | 2002-04-04
Prv. Start Date | 2002-02-01
Prv. End Date | 2002-03-28
Comments | HP Turbine Work
SIC | 4911
Plant ID | 1012650
Unit ID | 1003705
Outage ID | 13007

## Helms Hydro 01
Owner Name | Pacific Gas & Electric
Station Name | Helms Pumped Storage Power Station
Unit Name | Hydro 01
NERC Region | WSCC
State | CA
Fuel Type | Hydro
Capacity | 404 MW
Start Date | 2002-01-27
End Date | 2002-05-26
Prv. Start Date | 2002-07-12
Prv. End Date | 2003-01-12
Comments | Generator Rewind
SIC | 4911
Plant ID | 1033602
Unit ID | 1009754
Outage ID | 19640

## Cholla 04
Owner Name | Arizona Public Service Company
Station Name | Cholla Power Station
Unit Name | Cholla 04
NERC Region | WSCC
State | AZ
Fuel Type | Coal
Capacity | 414 MW
Start Date | 2002-01-24
End Date | 2002-01-27
Prv. Start Date | 2002-01-24
Prv. End Date | 2002-01-28
Comments | Boiler leak
SIC | 4911
Plant ID | 1016384
Unit ID | 1006666
Outage ID | 19644

## Quad Cities 02
Owner Name | Exelon Nuclear
Station Name | Quad Cities Nuclear Power Station
Unit Name | Quad Cities 02
NERC Region | MAIN
State | IL
Fuel Type | Nuclear
Capacity | 828 MW
Start Date | 2002-02-04
End Date | 2002-03-10
Prv. Start Date | 2002-02-08
Prv. End Date | 2002-03-14
Comments | Refuel
SIC | 4931
Plant ID | 1515021
Unit ID | 1007230
Outage ID | 10969

## Quad Cities 01
Owner Name | Exelon Nuclear
Station Name | Quad Cities Nuclear Power Station
Unit Name | Quad Cities 01
NERC Region | MAIN
State | IL
Fuel Type | Nuclear
Capacity | 838 MW
Start Date | 2002-01-09
End Date | 2002-02-01
Prv. Start Date | 2002-01-09
Prv. End Date | 2002-01-26
Comments | Merging the pumps
SIC | 4931
Plant ID | 1515021
Unit ID | 1007229
Outage ID | 19442