## Northside 01
Owner Name | Jacsonville Electric Authority
Station Name | Northside Generating Station
Unit Name | Northside 01
NERC Region | FRCC
State | FL
Fuel Type | Coke
Capacity | 289 MW
Start Date | 2001-05-12
End Date | 2002-02-27
Prv. Start Date | 2001-05-12
Prv. End Date | 2002-03-07
Comments | Rebuild unit to change fuel supply from fuel oil to coke.
SIC | 4911
Plant ID | 1021650
Unit ID | 1007149
Outage ID | 8044

## Northside 02
Owner Name | Jacsonville Electric Authority
Station Name | Northside Generating Station
Unit Name | Northside 02
NERC Region | FRCC
State | FL
Fuel Type | Coke
Capacity | 289 MW
Start Date | 1999-05-17
End Date | 2002-02-01
Prv. Start Date | 1999-05-17
Prv. End Date | 2002-03-07
Comments | Rebuilt unit to change fuel supply from fuel oil to coke, however unit will start out on coal then move to coke.
SIC | 4911
Plant ID | 1021650
Unit ID | 1007150
Outage ID | 8045

## Greene County 01
Owner Name | Alabama Power Co.
Station Name | Greene County Power Station
Unit Name | Greene County 01
NERC Region | SERC
State | AL
Fuel Type | Coal
Capacity | 299 MW
Start Date | 2002-01-04
End Date | 2002-02-07
Prv. Start Date | 2002-01-04
Prv. End Date | 2002-01-31
Comments | Condenser replacement
SIC | 4911
Plant ID | 1006899
Unit ID | 1006843
Outage ID | 17643

## Ravenswood 01
Owner Name | Keyspan Ravenswood
Station Name | Ravenswood Power Station
Unit Name | Unit 01
NERC Region | NPCC
State | NY
Fuel Type | Nat. Gas/Fuel Oil
Capacity | 400 MW
Start Date | 2001-10-05
End Date | 2002-02-07
Prv. Start Date | 2001-10-05
Prv. End Date | 2002-02-05
Comments | Turb, Gen work
SIC | 4931
Plant ID | 1516826
Unit ID | 1004328
Outage ID | 18595

## Northfield 01
Owner Name | Northeast Utilities
Station Name | Northfield Mountain Hydro Power Station
Unit Name | Hydro 01
NERC Region | NPCC
State | MA
Fuel Type | Hydro 01
Capacity | 270 MW
Start Date | 2002-01-26
End Date | 2002-05-26
Prv. Start Date | 2002-02-01
Prv. End Date | 2002-05-29
Comments | Major O/H
SIC | 4931
Plant ID | 1522625
Unit ID | 1007738
Outage ID | 12401

## Waukegan 07
Owner Name | Midwest Generation LLC
Station Name | Waukegan Fossil Station
Unit Name | Waukegan 07
NERC Region | MAIN
State | IL
Fuel Type | Coal
Capacity | 326
Start Date | 2002-01-11
End Date | 2002-04-12
Prv. Start Date | 2002-01-11
Prv. End Date | 2002-02-21
Comments | Precipitator work along with turbine work.
SIC | 4931
Plant ID | 1013831
Unit ID | 1005812
Outage ID | 12850