## Huntley 67
Owner Name | NRG Energy, Inc.
Station Name | Charles R Huntley Power Station
Unit Name | Huntley 67
NERC Region | NPCC
State | NY
Fuel Type | Coal
Capacity | 218 MW
Start Date | 2002-02-04
End Date | 2002-02-07
Comments | Tube leak
SIC | 4931
Plant ID | 1016833
Unit ID | 1005620
Outage ID | 19774

## Lovett 04
Owner Name | Mirant New York
Station Name | Lovett Power Station
Unit Name | Lovett 04
NERC Region | NPCC
State | NY
Fuel Type | Coal / Natural Gas
Capacity | 180 MW
Start Date | 2002-02-05
End Date | 2002-03-31
Comments | Turbine Overhaul
SIC | 4931
Plant ID | 1009024
Unit ID | 1006110
Outage ID | 19772

## Bowline 02
Owner Name | Mirant Bowline LLC
Station Name | Bowline Point Generating Station
Unit Name | Bowline 02
NERC Region | NPCC
State | NY
Fuel Type | Fuel Oil / Natural Gas
Capacity | 621 MW
Start Date | 2002-02-04
End Date | 2002-02-06
Comments | Emergency Boiler repairs
SIC | 4931
Plant ID | 1008801
Unit ID | 1006100
Outage ID | 19771

## Bowline 01
Owner Name | Mirant Bowline LLC
Station Name | Bowline Point Generating Station
Unit Name | Bowline 01
NERC Region | NPCC
State | NY
Fuel Type | Fuel Oil / Natural Gas
Capacity | 621 MW
Start Date | 2002-02-04
End Date | 2002-02-06
Comments | Emergency Boiler Repairs
SIC | 4931
Plant ID | 1008801
Unit ID | 1006099
Outage ID | 19770

## Keystone 02
Owner Name | Reliant Energy
Station Name | Keystone Power Station
Unit Name | Keystone 02
NERC Region | MAAC
State | PA
Fuel Type | Coal
Capacity | 936 MW
Start Date | 2002-02-04
End Date | 2002-02-05
Comments | Unit was down due to a tube leak, however unit is back online now.
SIC | 4931
Plant ID | 1016346
Unit ID | 1004388
Outage ID | 19764