## Coronado 02
Owner Name | Salt River Project
Station Name | Coronado Generating Station
Unit Name | Coronado 02
NERC Region | WSCC
State | AZ
Fuel Type | Coal
Capacity | 411 MW
Start Date | 2002-02-05
End Date | 2002-02-10
Comments | Tube Leak
SIC | 4911
Plant ID | 10106260
Unit ID | 1007077
Outage ID | 19785

## Saint Lucie 02
Owner Name | Florida Power and Light Company
Station Name | Saint Lucie Nuclear Power Station
Unit Name | Saint Lucie 02
NERC Region | FRCC
State | FL
Fuel Type | Nuclear
Capacity | 850 MW
Start Date | 2002-02-04
End Date | 2/6/02 am
Comments | Unplanned Maintenance
SIC | 4911
Plant ID | 1016650
Unit ID | 1004843
Outage ID | 19790

## Contra Costa 07
Owner Name | Mirant California LLC
Station Name | Contra Costa Power Station
Unit Name | Contra Costa 07
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas / Fuel Oil
Capacity | 359 MW
Start Date | 2002-02-06
End Date | 2002-02-08
Comments | Unit Tripped
SIC | 4931
Plant ID | 1000299
Unit ID | 1004622
Outage ID | 19789

## Jim Bridger 04
Owner Name | PacifiCorp
Station Name | Jim Bridger Power Station
Unit Name | Jim Bridger 04
NERC Region | WSCC
State | WY
Fuel Type | Coal
Capacity | 578 MW
Start Date | 2002-02-04
End Date | 2002-02-07
Comments | Tube Leak
SIC | 4911
Plant ID | 1015362
Unit ID | 1007978
Outage ID | 19788

## Jim Bridger 03
Owner Name | PacifiCorp
Station Name | Jim Bridger Power Station
Unit Name | Jim Bridger 03
NERC Region | WSCC
State | WY
Fuel Type | Coal
Capacity | 578 MW
Start Date | 2002-02-04
End Date | 2002-02-07
Comments | Tube Leak
SIC | 4911
Plant ID | 1015362
Unit ID | 1007975
Outage ID | 19787

## Homer City 01
Owner Name | Edison Mission Energy
Station Name | Homer City Power Station
Unit Name | Homer City 01
NERC Region | MAAC
State | PA
Fuel Type | Coal
Capacity | 660 MW
Start Date | 2002-02-05
End Date | 2002-02-07
Comments | Tube Leak, Expecting to be back up late tonight.
SIC | 4931
Plant ID | 1016344
Unit ID | 1009411
Outage ID | 19784