## Hunter 02
Owner Name | PacifiCorp
Station Name | Hunter Power Station
Unit Name | Hunter 02
NERC Region | WSCC
State | UT
Fuel Type | Coal
Capacity | 473 MW
Start Date | 2001-09-17
End Date | 2001-09-20
Comments | Tube leak. Trying to get unit back on line by tomorrow morning.
SIC | 4911
Plant ID | 1015354
Unit ID | 1007558
Outage ID | 18503

## E F Barrett 01
Owner Name | Keyspan Energy Company
Station Name | E F Barrett Power Station
Unit Name | E F Barrett 01
NERC Region | NPCC
State | NY
Fuel Type | Natural Gas
Capacity | 194 MW
Start Date | 2001-09-18
End Date | 2001-09-21
Comments | Unit is down for boiler repairs
SIC | 4931
Plant ID | 1018758
Unit ID | 1004792
Outage ID | 18501

## Northport 01
Owner Name | KeySpan Energy Company
Station Name | Northport Power Station
Unit Name | Northport 01
NERC Region | NPCC
State | NY
Fuel Type | Natural Gas
Capacity | 387 MW
Start Date | 2001-10-05
End Date | 2001-10-19
Comments | Boiler Work
SIC | 4911
Plant ID | 1512112
Unit ID | 1004550
Outage ID | 18499