## Navajo 03
Owner Name | Salt River Project Agricultural Improvement
Station Name | Navajo Power Station
Unit Name | Navajo 03
NERC Region | WSCC
State | AZ
Fuel Type | Coal
Capacity | 803 MW
Start Date | 2001-09-23
End Date | 2001-09-25
Comments | Boiler Tube Leak
SIC | 4911
Plant ID | 1015877
Unit ID | 1007206
Outage ID | 18519