## South Bay 04
Owner Name | Duke Energy
Station Name | South Bay 04
Unit Name | South Bay 04
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 240 MW
Start Date | 2001-09-29
End Date | 2001-12-07
Prv. Start Date | 2001-10-05
Prv. End Date | 2001-12-14
Comments | Turb O/H
SIC | 4931
Plant ID | 1013339
Unit ID | 1007052
Outage ID | 15337

## F B Culley 03
Owner Name | Vectren Power Supply
Station Name | F B Culley Power Station
Unit Name | F B Culley 03
NERC Region | ECAR
State | IN
Fuel Type | Coal
Capacity | 265 MW
Start Date | 2001-09-21
End Date | 2001-11-15
Prv. Start Date | 2001-09-28
Prv. End Date | 2001-10-18
Comments | SCR Conversion
SIC | 4931
Plant ID | 1015103
Unit ID | 1005786
Outage ID | 14920

## Blenheim 03
Owner Name | New York Power Authority
Station Name | Blenheim-Gilboa Pumped Storage Power Station
Unit Name | Hydro 03
NERC Region | NPCC
State | NY
Fuel Type | Hydro
Capacity | 250 MW
Start Date | 2001-11-04
End Date | 2001-11-24
Prv. Start Date | 2001-10-26
Prv. End Date | 2001-11-15
Comments | Cavitation repairs
SIC | 4911
Plant ID | 1501795
Unit ID | 1004754
Outage ID | 14117

## Blenheim 02
Owner Name | New York Power Authority
Station Name | Blenheim-Gilboa Pumped Storage Power Station
Unit Name | Hydro 02
NERC Region | NPCC
State | NY
Fuel Type | Hydro
Capacity | 250 MW
Start Date | 2001-10-14
End Date | 2001-11-03
Prv. Start Date | 2001-09-28
Prv. End Date | 2001-10-18
Comments | Cavitation repairs
SIC | 4911
Plant ID | 1501795
Unit ID | 1004753
Outage ID | 14115

## Braidwood 01
Owner Name | Exelon Nuclear
Station Name | Braidwood Nuclear Power Station
Unit Name | Braidwood 01
NERC Region | MAIN
State | IL
Fuel Type | Nuclear
Capacity | 1,225 MW
Start Date | 2001-09-22
End Date | 2001-10-16
Prv. Start Date | 2001-09-22
Prv. End Date | 2001-10-06
Comments | Refueling.
SIC | 4911
Plant ID | 1016362
Unit ID | 1007402
Outage ID | 10454

## Vogtle 02
Owner Name | Georgia Power Company
Station Name | Alvin W Vogtle Nuclear Power Station
Unit Name | Vogtle 02
NERC Region | SERC
State | GA
Fuel Type | Nuclear
Capacity | 1,160 MW
Start Date | 2001-09-25
End Date | 2001-09-29
Prv. Start Date | 2001-09-25
Prv. End Date | 2001-09-27
Comments | Derated 92% due to minor work, turbine rebuild
SIC | 4911
Plant ID | 1011962
Unit ID | 1004095
Outage ID

## Navajo 03
Owner Name | Salt River Project Agricultural Improvement
Station Name | Navajo Power Station
Unit Name | Navajo 03
NERC Region | WSCC
State | AZ
Fuel Type | Coal
Capacity | 803 MW
Start Date | 2001-09-23
End Date | 2001-09-27
Prv. Start Date | 2001-09-23
Prv. End Date | 2001-09-25
Comments | Boiler Tube Leak
SIC | 4911
Plant ID | 1015877
Unit ID | 1007206
Outage ID | 9526

## Coronado 01
Owner Name | Salt River Project Agricultural Improvement
Station Name | Coronado Generating Station
Unit Name | Coronado 01
NERC Region | WSCC
State | AZ
Fuel Type | Coal
Capacity | 411 MW
Start Date | 2001-11-29
End Date | 2001-01-09
Prv. Start Date | 2001-10-13
Prv. End Date | 2001-11-23
Comments | Turbine Overhaul
SIC | 4911
Plant ID | 1016260
Unit ID | 1007076
Outage ID | 9521