## Vogtle 02
Owner Name | Georgia Power Company
Station Name | Alvin W Vogtle Nuclear Power Station
Unit Name | Vogtle 02
NERC Region | SERC
State | GA
Fuel Type | Nuclear
Capacity | 1,160 MW
Start Date | 2001-09-25
End Date | 2001-09-29
Prv. Start Date | 2001-09-25
Prv. End Date | 2001-09-27
Comments | Derated 92% due to minor work, turbine rebuild
SIC | 4911
Plant ID | 1011962
Unit ID | 1004095
Outage ID

## Navajo 03
Owner Name | Salt River Project Agricultural Improvement
Station Name | Navajo Power Station
Unit Name | Navajo 03
NERC Region | WSCC
State | AZ
Fuel Type | Coal
Capacity | 803 MW
Start Date | 2001-09-23
End Date | 2001-09-27
Prv. Start Date | 2001-09-23
Prv. End Date | 2001-09-25
Comments | Boiler Tube Leak
SIC | 4911
Plant ID | 1015877
Unit ID | 1007206
Outage ID | 9526

## Coronado 01
Owner Name | Salt River Project Agricultural Improvement
Station Name | Coronado Generating Station
Unit Name | Coronado 01
NERC Region | WSCC
State | AZ
Fuel Type | Coal
Capacity | 411 MW
Start Date | 2001-11-29
End Date | 2001-01-09
Prv. Start Date | 2001-10-13
Prv. End Date | 2001-11-23
Comments | Turbine Overhaul
SIC | 4911
Plant ID | 1016260
Unit ID | 1007076
Outage ID | 9521