## Monticello 01
Owner Name | Northern States Power Company
Station Name | Monticello Nuclear Power Station
Unit Name | Monticello 01
NERC Region | MAPP
State | MN
Fuel Type | Nuclear
Capacity | 600 MW
Start Date | 2001-09-28
End Date | 2001-09-30
Comments | Will stay derated @ 60% due to repair on reactor pump.
SIC | 4911
Plant ID | 1014043
Unit ID | 1006639
Outage ID

## Paradise 03
Owner Name | Tennessee Valley Authority
Station Name | Paradise Power Station
Unit Name | Paradise 03
NERC Region | SERC
State | KY
Fuel Type | Coal
Capacity | 1,150 MW
Start Date | 2001-09-27
End Date | 2001-10-01
Comments | Tube Leak
SIC | 4911
Plant ID | 1012553
Unit ID | 1003648
Outage ID | 18551