## Huntington Beach 01
Owner Name | AES Huntington Beach LLC
Station Name | Huntington Beach Power Station
Unit Name | Huntington Beach 01
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 218 MW
Start Date | 2001-10-02
End Date | 2001-10-06
Comments | Problems with pumps, testing unit.
SIC | 4931
Plant ID | 1013155
Unit ID | 1006119
Outage ID | 18562

## Alamitos 05
Owner Name | AES Alamitos LLC
Station Name | Alamitos Power Station
Unit Name | Alamitos 05
NERC Region | WSCC
State | CA
Fuel Type | Natural Gas
Capacity | 495 MW
Start Date | 2001-10-02
End Date | 2001-10-03
Comments | Boiler Tube Leak
SIC | 4931
Plant ID | 1012708
Unit ID | 1005921
Outage ID | 18565

## James A Fitzpatrick 01
Owner Name | Entergy Nuclear Generating Company
Station Name | James A Fitzpatrick Nuclear Power Station
Unit Name | James A Fitzpatrick 01
NERC Region | NPCC
State | NY
Fuel Type | Nuclear
Capacity | 883 MW
Start Date | 2001-10-01
End Date | 2001-10-03
Comments | Derated 55% due to problems with the feedwater turbine controls
SIC | 4911
Plant ID | 1503222
Unit ID | 1005229
Outage ID | 18561

## Mill Creek 04
Owner Name | Louisville Gas and Electric Company
Station Name | Mill Creek Power Station
Unit Name | Mill Creek 04
NERC Region | ECAR
State | KY
Fuel Type | Coal
Capacity | 544 MW
Start Date | 2001-09-28
End Date | 2001-09-28
Comments | Unit Tripped for 90 minutes
SIC | 4911
Plant ID | 1013423
Unit ID | 1007010
Outage ID | 18563