## Michoud 02
Owner Name | Entergy New Orleans Incorporated
Station Name | Michoud Power Station
Unit Name | Michoud 02
NERC Region | SERC
State | LA
Fuel Type | Natural Gas
Capacity | 262 MW
Start Date | 2001-10-09
End Date | 2002-01-06
Prv. Start Date | 2001-10-02
Prv. End Date | 2001-12-30
Comments | Turbine Overhaul
SIC | 4911
Plant ID | 1005162
Unit ID | 1005885
Outage ID | 10977

## Dresden 02
Owner Name | Exelon Corporation
Station Name | Dresden Nuclear Power Station
Unit Name | Dresden 02
NERC Region | MAIN
State | IL
Fuel Type | Nuclear
Capacity | 828 MW
Start Date | 2001-10-20
End Date | 2001-11-20
Prv. Start Date | 2001-10-20
Prv. End Date | 2001-11-16
Comments | Refuel/ Transformer repair
SIC | 4931
Plant ID | 1009265
Unit ID | 1007231
Outage ID | 8100

## State Line 04
Owner Name | State Line Energy LLC
Station Name | State Line Power Station
Unit Name | State Line 04
NERC Region | MAIN
State | IN
Fuel Type | Coal
Capacity | 389 MW
Start Date | 2001-10-15
End Date | 2001-11-25
Prv. Start Date | 2001-10-02
Prv. End Date | 2001-11-12
Comments | Boiler Overhaul
SIC | 4931
Plant ID | 1012952
Unit ID | 1005705
Outage ID | 17158

## Robert H Moses 09
Owner Name | New York Power Authority
Station Name | Robert H Moses Hydro Power
Unit Name | Hydro 09
NERC Region | NPCC
State | NY
Fuel Type | Hydro
Capacity | 150 MW
Start Date | 2001-10-12
End Date | 2002-05-29
Prv. Start Date | 2001-10-03
Prv. End Date | 2002-05-20
Comments | Turb U/G
SIC | 4911
Plant ID | 1513647
Unit ID | 1005253
Outage ID | 14212

## Arvah B Hopkins 02
Owner Name | City of Tallahassee
Station Name | Arvah B Hopkins Power Station
Unit Name | Arvah B Hopkins 02
NERC Region | FRCC
State | FL
Fuel Type | Natural Gas
Capacity | 259 MW
Start Date | 2001-10-03
End Date | 2001-11-13
Prv. Start Date | 2001-10-01
Prv. End Date | 2001-11-30
Comments | Turbine Overhaul
SIC | 4911
Plant ID | 1512072
Unit ID | 1004939
Outage ID | 11484

## Muskogee 06
Owner Name | OG&E Electric Services
Station Name | Muskogee Generating Station
Unit Name | Muskogee 06
NERC Region | SPP
State | OK
Fuel Type | Coal
Capacity | 572 MW
Start Date | 2001-09-22
End Date | 2001-10-06
Prv. Start Date | 2002-03-04
Prv. End Date | 2002-03-18
Comments | Inspection.
SIC | 4911
Plant ID | 1009116
Unit ID | 1006519
Outage ID | 13860

## Lyondell 06
Owner Name | Dynegy Power Corp.
Station Name | Cogen Lyondell
Unit Name | Unit 06 ST
NERC Region | ERCOT
State | TX
Fuel Type | Steam
Capacity | 138 MW
Start Date | 2001-10-08
End Date | 2001-11-18
Prv. Start Date | 2001-10-03
Prv. End Date | 2001-11-11
Comments | Turb O/H
SIC | 4931
Plant ID | 1002822
Unit ID | 1011765
Outage ID | 17601

## Calderwood 03
Owner Name | Tapoco Inc
Station Name | Calderwood Hydro
Unit Name | Hydro 03
NERC Region | SERC
State | TN
Fuel Type | Hydro
Capacity | 41 MW
Start Date | 2001-10-26
End Date | 2004-11-26
Prv. Start Date | 2001-10-03
Prv. End Date | 2001-12-31
Comments | Rebuild
SIC | 4931
Plant ID | 1032627
Unit ID | 1012077
Outage ID | 14162