## Shawnee 01
Owner Name | Tenessee Valley Authority
Station Name | Shawnee Power Station
Unit Name | Shawnee 01
NERC Region | SERC
State | KY
Fuel Type | Coal
Capacity | 175 MW
Start Date | 2001-10-12
End Date | 2001-11-03
Prv. Start Date | 2001-10-05
Prv. End Date | 2001-10-27
Comments | Turbine work.
SIC | 4911
Plant ID | 1012980
Unit ID | 1003674
Outage ID | 15184

## Cook 2
Owner Name | American Electric Power
Station Name | Donald C. Cook Nuclear Power Station
Unit Name | Cook 02
NERC Region | MAIN
State | MI
Fuel Type | Nuclear
Capacity | 1,133 MW
Start Date | 2001-08-30
End Date | 2001-10-08
Prv. Start Date | 2001-08-30
Prv. End Date | 2001-10-05
Comments
SIC | 4911
Plant ID | 1000365
Unit ID | 1005088
Outage ID | 18235

## Gannon 05
Owner Name | Tampa Electric Company
Station Name | Francis J Gannon Power Station
Unit Name | Francis Gannon 05
NERC Region | FRCC
State | FL
Fuel Type | Coal
Capacity | 239 MW
Start Date | 2001-10-05
End Date | 2001-11-01
Prv. Start Date | 2001-10-07
Prv. End Date | 2001-11-03
Comments | Boiler,valves
SIC | 4911
Plant ID | 1015700
Unit ID | 1008555
Outage ID | 14716

## San Juan 04
Owner Name | New Mexico Public Service Company
Station Name | San Juan Generating Station
Unit Name | San Juan 04
NERC Region | WSCC
State | NM
Fuel Type | Coal
Capacity | 534 MW
Start Date | 2001-10-02
End Date | 2001-10-04
Prv. Start Date | 2001-10-02
Prv. End Date | 2001-10-05
Comments | Unit was back online early in the morning.
SIC | 4911
Plant ID | 1016385
Unit ID | 1007773
Outage ID | 18570

## San Juan 04 Planned
Owner Name | New Mexico Public Service Company
Station Name | San Juan Generating Station
Unit Name | San Juan 04
NERC Region | WSCC
State | NM
Fuel Type | Coal
Capacity | 534 MW
Start Date | 2001-10-06
End Date | 2001-11-04
Prv. Start Date | 2001-10-05
Prv. End Date | 2001-11-04
Comments | Planned outage
SIC | 4911
Plant ID | 1016385
Unit ID | 1007773
Outage ID | 18528