## San Juan 03
Owner Name | Public Service Company of New Mexico
Station Name | San Juan Generating Station
Unit Name | San Juan 03
NERC Region | WSCC
State | NW
Fuel Type | Coal
Capacity | 534 MW
Start Date | 2001-10-10
End Date | 2001-10-12
Comments | Unit is down due to a tube leak.
SIC | 4911
Plant ID | 1016385
Unit ID | 1007771
Outage ID | 18630

## Mohave 02
Owner Name | Southern California Edison Company
Station Name | Mohave Power Station
Unit Name | Mohave 02
NERC Region | WSCC
State | NV
Fuel Type | Coal
Capacity | 818 MW
Start Date | 10/10/01 am
End Date | 10/10/01 pm
Comments | Tripped
SIC | 4911
Plant ID | 1015381
Unit ID | 1006330
Outage ID | 18626

## San Onofre 02
Owner Name | Southern California Edison Company
Station Name | San Onofre Nuclear Power Station
Unit Name | SONGS 02
NERC Region | WSCC
State | CA
Fuel Type | Nuclear
Capacity | 1,127 MW
Start Date | 2001-10-13
End Date | 2001-11-01
Comments | Minor Inspection on MSR, and changing seals on valves
SIC | 4911
Plant ID | 1014484
Unit ID | 1006753
Outage ID | 18619

## Limestone 02
Owner Name | Reliant-HLP
Station Name | Limestone Electric Generating Station
Unit Name | Limestone 02
NERC Region | ERCOT
State | TX
Fuel Type | Coal
Capacity | 813 MW
Start Date | 2001-10-03
End Date | 2001-10-30
Comments | Motors,valves work
SIC | 4911
Plant ID | 1001738
Unit ID | 1004024
Outage ID | 18614