## Nine Mile Point 01
Owner Name | Niagara Mohawk Power Corporation
Station Name | Nine Mile Point Nuclear Power Station
Unit Name | Nine Mile Point 01
NERC Region | NPCC
State | NY
Fuel Type | Nuclear
Capacity | 642 MW
Start Date | 2001-10-11
End Date | 2001-10-14
Comments | Unit is having Turbine Control Problems, should not be too extensive.
SIC | 4911
Plant ID | 1514373
Unit ID | 1005757
Outage ID | 18641

## Indian River 2
Owner Name | NRG Energy Incorporated
Station Name | Indian River Power Station
Unit Name | Indian River 02
NERC Region | MAAC
State | DE
Fuel Type | Coal
Capacity | 82 MW
Start Date | 2001-10-09
End Date | 2001-10-14
Comments | Had several Tube Leaks
SIC | 4931
Plant ID | 1515051
Unit ID | 1008232
Outage ID | 18640

## Indian River 04
Owner Name | NRG Energy Incorporated
Station Name | Indian River Power Station
Unit Name | Indian River 04
NERC Region | MAAC
State | DE
Fuel Type | Coal
Capacity | 442 MW
Start Date | 2001-10-05
End Date | 2001-11-05
Comments | Had vibrations, doing a turbine teardown to see what the problem is
SIC | 4931
Plant ID | 1515051
Unit ID | 1008236
Outage ID | 18639

## Vienna 08
Owner Name | NRG Energy Incorporated
Station Name | Vienna Power Station
Unit Name | Vienna 08
NERC Region | MAAC
State | MD
Fuel Type | Fuel Oil No. 6
Capacity | 162 MW
Start Date | 2001-10-11
End Date | 2001-10-14
Comments | Unit is down with Generator Problem.
SIC | 4931
Plant ID | 1015555
Unit ID | 1005937
Outage ID | 18636